## Inventory
Name of Zone: Garhwal Zone, Roorkee
Name of Circle: O&M Circle, Roorkee
Name of Division: 220KV O&M Division, Piran kaliyar
Name of Substation: 220KV S/S Piran Kaliyar
S. No. | Item code | Name of Item | Unit | Rate. | Useable |  | Unserviceable |  | Non-Moving |  | Obsolete |  | Scrap
[5 empty] | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amt in Rs. | Qty. | Total Amount in Rs.
1 | II0I001003 | Disc Insultor 120 KN | Nos. | 900 | 25 | 22500
2 | C201 | HF Cable | Km. | 185000 | 1.03 | 190550
3 | VV2V204007 | Empty T/F oil drum | Nos. | 250 | [8 empty] | 287 | 71750
4 |  | 7/9 SWG G.I.Earth wire | Kg. | 25 | 715 | 17875
5 |  | old & used dismenteled enery meter | Nos. | 500 | 18 | 9000
6 |  | Main & Auxiliary Structure Bolt & Nuts and anchor bolts (Foundation bolts) (i) CTDP Col-1No @1540.23 Kg (ii) 33KV BPI-1 No @ 140.76 Kg | MT | 104135.55 | 1.6809 | 175041.446
7 |  | MS Round 40 mm Diameter | MT | 79712.94 | 0.3594 | 28648.8306
8 | K302 | 33KV Equpt-Bus Post insulator | No | 0 | 2 | 0
9 |  | Earth wire (Old & Used and scrap | Kg | 10 | [8 empty] | 3875 | 38750
10 | P224 | Telephone Set | No | 7085.59 | 1 | 7085.59
11 | CC1C103002 | Control cable 400mm X 3.5 core | Km | 1480294.75 | 0.254 | 375994.8665
12 |  | Control cable 70mm X 3.5 core | Km | 442849.68 | 0.315 | 139497.6492
13 | C201 | HF CABLE | Km |  | 0.582
14 | II0I001007 | Disc Indulator 70 KN | Nos | 340 | 49 | 16660
Mandatory Spare 245 KV isolator
15 | SS0S002001 | One complete pole of isolator ( including support insulator) with 1 E/S with operating mechanism for main isolator and earth switch ( Excluding structure) | No | 430969.62 | 1 | 430969.62
16 |  | Relay, Power contractor, MCB, Switch, Fuses, Push buttons and resistors for electrical control circuit as per approved schematic. | Set | 17000 | 1 | 17000
17 |  | Limit switch and auxiliary contacts (Complete for one MOM box of isolator) | Set | 2500 | 2 | 5000
18 | SS2S201005 | Rotor housing bearing assembly | No | 10000 | 1 | 10000
19 |  | Bearings | Set | 5000 | 1 | 5000
20 |  | interlocking coils | No | 1500 | 5 | 7500
21 |  | Support insulator | No | 25000 | 1 | 25000
Mandatory Spare 33 KV isolator
22 | SS0S005001 | One complete pole of isolator ( including support insulator) with 1 E/S with operating mechanism for main isolator and earth switch ( Excluding structure) | No | 152139.87 | 1 | 152139.87
23 |  | Bearings | No | 5000 | 1 | 5000
Mandatory spare-Control & relay panel (33 KV C&R Panel)
24 | MM3M303007 | Digital Ammeter CTR 400-200/1A | Nos | 3160 | 2 | 6320
25 |  | Digital MW Meter, CTR-400-200/1A, PTR-33KV/110VAC with Transducer | Nos | 6320 | 1 | 6320
26 |  | Digital MVAR Meter, CTR-400-200/1A, PTR-33KV/110VAC with Transducer | Nos | 6320 | 1 | 6320
27 |  | Breaker control switch, 32A, Pistol grip handle, 3position | Nos | 1523 | 1 | 1523
28 |  | Isolator control switch (Open, Neutral, Close) 3 position | Nos | 1523 | 2 | 3046
29 |  | Indicating lamp for CB open, 220VDC, Green | Nos | 21 | 1 | 21
30 |  | Indicating lamp for CB Close, 220VDC, Red | Nos | 21 | 2 | 42
31 |  | Indicating lamp for Spring charged, 220VDC, Blue | Nos | 21 | 1 | 21
32 |  | Indicating lamp for CB Auto trip, 220VDC, Amber | Nos | 21 | 3 | 63
33 |  | Indicating lamp for DC supply fail, 220VDC, Amber | Nos | 21 | 3 | 63
34 |  | Indicating lamp, 63.5VAC, Red | Nos | 21 | 3 | 63
35 |  | Indicating lamp, 63.5VAC, Yellow | Nos | 21 | 3 | 63
36 |  | Indicating lamp, 63.5VAC, Blue | Nos | 21 | 3 | 63
37 |  | Alarm annunciator,8winows | Nos | 14682 | 1 | 14682
38 | NN4N412005 | Trip transfer switch, 03 position (normal, Inter, Transfer) 32A | Nos | 1689 | 1 | 1689
39 |  | 12 Pin Synchronizing socket | Nos | 632 | 1 | 632
40 |  | Synchronizing selector switch, 03 positions (Check-off-Manual), STAYPUT TYPE, LOCKABLE TYPE, KEY REMOVABLE | Nos | 799 | 1 | 799
41 |  | Breaker failure relay, 2Element, 7NO+1NC, Elect reset contact & Flag Indiaction | Nos | 50562 | 1 | 50562
42 |  | Self reset tripping relay, 2Element, 7NO+1NC, Elect reset contact & Flag Indiaction | Nos | 3360 | 1 | 3360
43 |  | Tripping relay, 2Element, 7NO+1NC, Elect reset contact & Flag Indiaction | Nos | 14364 | 1 | 14364
44 |  | Auxiliary relay, 2Element, 4C/O S/R contactsREV H/R flag indication | Nos | 1464 | 1 | 1464
45 |  | Auxiliary relay, 2Element, 4C/O S/R contacts & H/R flag | Nos | 2120.75 | 1 | 2120.75
46 |  | Numerical REF relay, 3DI/5DO, IEC61850on dual optical portwith PRP | Nos | 68222 | 1 | 68222
220 KV C&R Panel
47 |  | Digital Ammeter CTR 1600-800/1A | Nos | 3160 | 2 | 6320
48 |  | Digital MW Meter with external transducer, CTR-1600-800/1A, PTR-220KV/1.732/110/1.732VAC, 3p4w, range 340MW-680MW with Transducer | Nos | 6320 | 1 | 6320
49 |  | Digital MVAR Meter with external transducer, CTR-1600-800/1A, PTR-220KV/1.732/110/1.732VAC, 3p4w, range 340MW-680MW | Nos | 6320 | 1 | 6320
50 |  | Digital Voltmeter, 4.5Digit PTR 220kv/1.732/110V/1.732VAC, Range-250KV | Nos | 3160 | 1 | 3160
51 |  | Breaker control switch, 32A, Pistol grip handle, 3position | Nos | 1523 | 2 | 3046
52 |  | Isolator control switch (Open, Neutral, Close) 3 position, position spring return to neutra | Nos | 1523 | 2 | 3046
53 |  | Indicating lamp for Spring charged, 220VDC, Blue | Nos | 21 | 3 | 63
54 |  | Indicating lamp for CB Auto trip, 220VDC, Amber | Nos | 21 | 3 | 63
55 |  | Indicating lamp for DC supply fail, 220VDC, Amber | Nos | 21 | 3 | 63
56 |  | Indicating lamp, 63.5VAC, Red | Nos | 21 | 3 | 63
57 |  | Indicating lamp, 63.5VAC, Yellow | Nos | 21 | 3 | 63
58 |  | Indicating lamp, 63.5VAC, Blue | Nos | 21 | 3 | 63
59 |  | Alarm annunciator,20winows | Nos | 8682 | 1 | 8682
60 |  | Alarm annunciator,24winows | Nos | 6000 | 1 | 6000
61 |  | Push button actuator green with NO element | Nos | 63.33 | 1 | 63.33
62 |  | Push button actuator Blue with NO element | Nos | 63.33 | 1 | 63.33
63 |  | Push button actuator Yellow with NO element | Nos | 63.33 | 1 | 63.33
64 |  | Trip transfer switch, 03 position (normal, Inter, Transfer) 32A, STAYPUT Lockable, key removable in all position | Nos | 1689 | 1 | 1689
65 |  | 12 Pin Synchronizing socket | Nos | 632 | 1 | 632
66 |  | Synchronizing selector switch, 03 positions (Check-off-Manual), STAYPUT TYPE, LOCKABLE TYPE, KEY REMOVABLE | Nos | 799 | 1 | 799
67 |  | Breaker failure relay, 2Element, 7NO+1NC, Elect reset contact & Flag Indiaction | Nos | 50562 | 1 | 50562
68 |  | Self reset tripping relay, 2Element, 7NO+1NC, Elect reset contact & Flag Indiaction | Nos | 3360 | 1 | 3360
69 |  | Tripping relay, 2Element, 7NO+1NC, Elect reset contact & Flag Indiaction | Nos | 14360 | 1 | 14360
70 |  | DC Supervision relay, 2 Element, 4C/O S/R contacts, REV H/R flag indication | Nos | 1464 | 1 | 1464
Mandatory spare-220/33 KV Transformer
71 |  | HV Bushing | No | 1145398 | 1 | 1145398
72 |  | LV Bushing | No | 75000 | 1 | 75000
73 |  | Buchholz Relay (Main tank) with complete contacts | No | 30000 | 1 | 30000
74 |  | Remote winding temp indicator (RWTI) | No | 35000 | 1 | 35000
75 | VV2V206001 | Oil temp indicator with contacts | No | 60000 | 1 | 60000
76 | VV2V207001 | winding temp indicator (WTI)with sensing device & matching unit | No | 70000 | 1 | 70000
77 | VV2V209001 | Pressure relief device | No | 30000 | 1 | 30000
78 | VV2V208002 | Magnetic oil gauge | No | 36000 | 1 | 36000
79 |  | contactors, switches and relays for electric control panels (one no. of each type) | Set | 90000 | 1 | 90000
80 |  | Remote tap position indicator | No | 20000 | 1 | 20000
81 |  | Oil flow indicator with flow switch | Set | 20000.74 | 1 | 20000.74
82 | MM0M007004 | Oil surge relay for OLTC | No | 100000 | 1 | 100000
Mandatory Spare-PLCC
83 | NN5N505001 | Card Type B5LA | Nos | 57335.62 | 1 | 57335.62
84 | NN5N506015 | E5LA | Nos | 57335.62 | 1 | 57335.62
85 |  | O4LA | Nos | 57335.62 | 1 | 57335.62
86 | NN5N501001 | O4LC | Nos | 57335.62 | 1 | 57335.62
87 | NN5N506013 | P3LA | Nos | 57335.62 | 1 | 57335.62
88 | NN5N506011 | P4LA | Nos | 57335.62 | 1 | 57335.62
89 | NN5N503001 | P4LB | Nos | 57335.62 | 1 | 57335.62
90 | NN5N501003 | P4LC | Nos | 57335.62 | 1 | 57335.62
91 | NN5N503003 | P4LD | Nos | 57335.62 | 1 | 57335.62
92 | NN5N503004 | P4LF | Nos | 57335.62 | 1 | 57335.62
93 | NN5N501004 | P4LG | Nos | 57335.62 | 1 | 57335.62
94 | NN5N501002 | Card Type For NSD 50-G4AA | Nos | 124800 | 1 | 124800
95 |  | Card For NSK5-G4AE | Nos | 225000 | 1 | 225000
96 | NN5N506031 | Coupling Device-A9BS | Nos | 47000 | 1 | 47000
97 |  | A9BT | Nos | 47000 | 1 | 47000
98 | NN5N506030 | 4 Wire Table Telephone | Set | 3138 | 2 | 6276
Mandatory Spare-245 KV SA
99 | KK0K002001 | 245 KV surge Arrestor with insulating base, surge monitor and terminal connector. | Nos | 70608.2 | 2 | 141216.4
Mandatory Spare-245KV CVT
100 | VV6V507002 | 245 KV CVT | Nos | 300000 | 2 | 600000
101 | VV6V603002 | Junction Box | Nos | 16870.19 | 1 | 16870.19
Mandatory Spare 33KV CB
102 | JJ5J501011 | 33KV Circuit Breaker pole | Nos | 72869.93 | 2 | 145739.86
103 |  | Density/Pressure Monitor for SF-6 | Nos | 15000 | 1 | 15000
Mandatory Spare 245 KV CB
104 | JJ2J201010 | One complete pole of 1600A CB with pole column and interrupter. (Including fixed, moving & Arcing contact including insulating nozzle) | No. | 757098.87 | 1 | 757098.87
105 |  | Rubber gaskets, O rings and seals for SF6 gas(complete replacement for one breaker) | Set | 42000 | 1 | 42000
106 |  | Molecular filter for SF6 Circuit for 1 Pole of CB | Sets | 8000 | 3 | 24000
107 |  | Density/Pressure monitor for SF6 circuit for one pole of CB | No | 40000 | 1 | 40000
108 |  | Pressure gauges & coupling device of each type | Set | 29000 | 1 | 29000
109 | JJ7J710028 | Operation counter | No. | 3000 | 1 | 3000
110 | PP1P122001 | All type of coupling for SF6 gas | Set | 20000 | 1 | 20000
111 |  | Relays, power contactors, switch-fuse units, limit switches, push buttons, timers and MCBs etc | Set | 33500 | 1 | 33500
112 |  | Control Valves | set | 20000 | 1 | 20000
113 | JJ2J201016 | Pressure switches | set | 49560 | 1 | 49560
114 |  | Complete spring operating mechanism | No | 187000 | 1 | 187000
115 |  | Closing dashpot | set | 10000 | 1 | 10000
116 |  | Opening dashpot | set | 10000 | 1 | 10000
117 |  | Opening catch gear | set | 13000 | 1 | 13000
118 |  | Closing catch gear | set | 13000 | 1 | 13000
Mandatory spare-LT Switchgear
119 |  | TP Inst O/C Relay, 200-300% setting in step of 200% and adjustable Definite time, CTR-/1A, Aux supply-220VDC | No | 4860 | 1 | 4860
120 |  | Inst E/F relay, Setting 5-80% in step of 5% Definite time delay 00-25Sec, CTR-/1A, Aux sup 220VDC | No | 3425 | 1 | 3425
121 |  | Non Directional 2Pole inverse Time O/C Relay with inst High Set | No | 4887 | 1 | 4887
122 |  | Single pole Definite Time O/C relay, Setting range 50-200%, CTR-/1A | No | 3666 | 1 | 3666
123 |  | Single Pole Inst. Restricted E/F relay, CTR-/1A, Aux-220VDC | No | 3026 | 1 | 3026
124 |  | Three Pole voltage controlled inverse time O/C relayCTR-/1A, PTR 110Volt, Aux-220VDC | No | 2200 | 1 | 2200
125 |  | Single pole Non-Directional, Definit Time O/C relay. Aux-220 VDC | No | 4077 | 1 | 4077
126 |  | Differential protection relay for DG. Aux -220 VDC | No | 5300 | 1 | 5300
127 |  | High Speed tripping relay, 220VDC with 2NO+3NC Aux contact | No | 3000 | 1 | 3000
128 |  | DP Inst. Under Voltage relay. PTR-110V, Aux Supply-220VDC | No | 3200 | 1 | 3200
129 |  | Under voltage relay 2C/O Aux contactAux Supply-240VAC, Operating Voltage 220VDC | No | 1500 | 1 | 1500
130 |  | Under voltage relay 2C/O Aux contactAux Supply-240VAC, Operating Voltage 48VDC | No | 1500 | 1 | 1500
131 |  | Over voltage relay, operating voltage 220VDC, Aux supply-240 VAC | No | 1500 | 1 | 1500
132 |  | Over voltage relay, operating voltage 48VDC, Aux supply-240 VAC | No | 1500 | 1 | 1500
133 |  | Battery E/F Relay, Sensing voltage-220VDC, Aux Suply-240 VAC | No | 1500 | 1 | 1500
134 |  | Aux relay 220VDC | No | 1000 | 1 | 1000
135 |  | Metering CT CTR 1000/1A, CL-1.0, 15VA | No | 690 | 1 | 690
136 |  | Metering CT CTR 600/1A, CL-1.0, 15VA | No | 690 | 1 | 690
137 |  | Protection CT CTR 1000/1A, CL-5P15, 15VA | No | 2299 | 1 | 2299
138 |  | Protection CT CTR 600/1A, CL-5P15, 15VA | No | 1700 | 1 | 1700
139 |  | PS Class CT CTR 400/1A, 15VA, KPV 300V | No | 2000 | 1 | 2000
140 |  | PT 415/√3/110/√3, 50 VA, CL-0.5, Single phase. | No | 1831 | 1 | 1831
141 |  | Frequency meter 45-55Hz, 415 V AC (Analogue) | No | 759 | 1 | 759
142 |  | 3-Ph 4 Wire KWH meter | No | 1200 | 1 | 1200
143 |  | Ammeter 0-1000A, CTR 1000/1A (Analouge) | No | 463 | 1 | 463
144 |  | Ammeter 0-600A, CTR 600/1A (Analouge) | No | 463 | 1 | 463
145 |  | Ammeter 0-400A, CTR 400/1A (Analouge) | No | 463 | 1 | 463
146 |  | Ammeter with Shunt (0-75mV) (Analouge) | No | 2054 | 1 | 2054
147 |  | Voltmeter Analouge Type, 0-500V, 415 VAC | No | 454 | 1 | 454
148 |  | Voltmeter Analouge Type, 300-0-300, 220 VDC | No | 722 | 1 | 722
149 |  | Voltmeter Analouge Type, 75-0-75, 48 VDC | No | 726 | 1 | 726
150 |  | Breaker controlswitch-25 A | No | 1392 | 1 | 1392
151 |  | Push Button, Spring return type with 1NO+1NC contact, Green | No | 144 | 1 | 144
152 |  | Push Button, Spring return type with 1NO+1NC contact, Red | No | 144 | 1 | 144
153 |  | TPN MCB 10KA, C Curve, AC-16 A | No | 513 | 1 | 513
154 |  | DP MCB, 4KA 48VDC-20A | No | 489 | 1 | 489
155 |  | DP MCB, 4KA 220VDC-20A | No | 325 | 1 | 325
156 |  | DP Switch, 220 VDC, Air Break Type-250A | No | 2000 | 1 | 2000
157 |  | DP Switch, 48 VDC, Air Break type-250A | No | 2000 | 1 | 2000
158 |  | 4P Electrically operated MCCB 20KA with O/L-400A | No | 2100 | 1 | 2100
159 |  | TP MCCB with thermal magnetic release for O/L-400A | No | 10000 | 1 | 10000
160 |  | TP MCCB with thermal magnetic release for O/L-100A | No | 1200 | 1 | 1200
161 |  | TP MCCB with thermal magnetic release for O/L-63A | No | 2000 | 1 | 2000
162 |  | DP MCCB, 4KA with thermal magnetic release for O/L for 220 VDC-320 A | No | 3000 | 1 | 3000
163 |  | DP MCCB, 4KA with thermal magnetic release for O/L for 48 VDC-320 A | No | 3000 | 1 | 3000
164 |  | DP MCCB, 4KA with thermal magnetic release for O/L for 220 VDC-250A | No | 3000 | 1 | 3000
165 |  | DP MCCB, 4KA with thermal magnetic release for O/L for 48 VDC-250 A | No | 3000 | 1 | 3000
166 |  | SP On/Off rotary switch-6A | No | 200 | 1 | 200
167 |  | Door switch-6A | No | 50.34 | 1 | 50.34
168 |  | Reset push button black | No | 144 | 1 | 144
Mandatory Spare-Battery Charger
169 |  | 220 V DC Charger- 3PH RC Card-69-00003 | No | 5239.53 | 1 | 5239.53
170 |  | 3PH Pulse TXR Card 69-00082-03 | No | 5239.53 | 1 | 5239.53
171 |  | Connector Card 69-00360-01 | No | 5239.53 | 1 | 5239.53
172 |  | LED Display Card 69-00084 | No | 5239.53 | 1 | 5239.53
173 |  | MA Card 69-00083 | No | 5239.53 | 1 | 5239.53
174 |  | 3PH Control card 69-00081-02 | No | 5239.53 | 1 | 5239.53
175 |  | Mains fail card 69-00087 | No | 5239.53 | 1 | 5239.53
176 |  | Fuse fail card 69-00123 | No | 5239.53 | 1 | 5239.53
177 |  | Fuse fail card 69-00390 | No | 5239.53 | 1 | 5239.53
178 |  | SUB LED card 69-00090 | No | 5239.53 | 1 | 5239.53
179 |  | Relay card 69-00088 | No | 5239.53 | 1 | 5239.53
180 |  | Temp Sensor card 69-00300 | No | 5239.53 | 1 | 5239.53
181 |  | Relay 11 Pin 5A 24 VDC 3C/O | No | 2000 | 1 | 2000
182 |  | Relay 11 Pin 5A 220 VDC 3C/O | No | 2000 | 1 | 2000
183 |  | Contactor 65A 3P 415 VAC | No | 4500 | 1 | 4500
184 |  | Switch Toggle 1P ON/OFF 6A AC | No | 350 | 1 | 350
185 |  | Capacitor ELE 4700mfd 450 VDC | No | 2500 | 2 | 5000
186 |  | THY-THY Module 90 A 1200PIV | No | 2000 | 1 | 2000
187 |  | Diode Stud 250A 1200 PIV | No | 1500 | 1 | 1500
188 |  | Resistor WWR 20 K 12W | No | 51.04 | 1 | 51.04
189 |  | Resistor WWR 12 K 12W | No | 35 | 1 | 35
190 |  | Resistor WWR 15 K 12W | No | 20 | 1 | 20
191 |  | Switch CAM 1P 4W NO/OFF 10A AC | No | 375 | 1 | 375
192 |  | Switch Volt Select 4P 4Way W/Off 10A AC | No | 275 | 1 | 275
193 |  | Potentiometer Multiturn 20K | No | 650 | 2 | 1300
194 |  | Fuse BS 110A 690 Volt 200KA | No | 175 | 6 | 1050
48V DC Charger-
195 |  | 3PH RC Card-69-00003 | No | 5239.53 | 1 | 5239.53
196 |  | 3PH Pulse TXR Card 69-00082-03 | No | 5239.53 | 1 | 5239.53
197 |  | Connector Card 69-00360-01 | No | 5239.53 | 1 | 5239.53
198 |  | DC-DC conv Card 69-00085 | No | 5239.53 | 1 | 5239.53
199 |  | LED Display Card 69-00084 | No | 5239.53 | 1 | 5239.53
200 |  | MA Card 69-00083 | No | 5239.53 | 1 | 5239.53
201 |  | 3PH Control card 69-00081-02 | No | 5239.53 | 1 | 5239.53
202 |  | Mains fail card 69-00087 | No | 5239.53 | 1 | 5239.53
203 |  | Relay card 69-00088 | No | 5239.53 | 1 | 5239.53
204 |  | Fuse fail card 69-00123 | No | 5239.53 | 1 | 5239.53
205 |  | Temp Sensor card 69-00300 | No | 5239.53 | 1 | 5239.53
206 |  | Gen Relay card 69-00333 | No | 5239.53 | 1 | 5239.53
207 |  | SUB LED card 69-00090 | No | 5239.53 | 1 | 5239.53
208 |  | Relay 11 Pin 5A 24 VDC 3C/O | No | 2000 | 1 | 2000
209 |  | Relay 11 Pin 5A 48 VDC 3C/O | No | 2000 | 1 | 2000
210 |  | Contactor 65A 3P 415 VAC | No | 4500 | 1 | 4500
211 |  | Switch Toggle 1P ON/OFF 6A AC | No | 350 | 1 | 350
212 |  | Capacitor ELE 4700mfd 450 VDC | No | 2500 | 2 | 5000
213 |  | THY-THY Module 90 A 1200PIV | No | 2000 | 1 | 2000
214 |  | Diode Stud 250A 1200 PIV | No | 1500 | 1 | 1500
215 |  | Potentiometer Multiturn 20K | No | 51.04 | 1 | 51.04
216 |  | Resistor WWR 12 K 12W | No | 35 | 1 | 35
217 |  | Resistor WWR 15 K 12W | No | 20 | 1 | 20
218 |  | Switch CAM 1P 4W NO/OFF 10A AC | No | 375 | 1 | 375
219 |  | Switch Volt Select 4P 4Way W/Off 10A AC | No | 275 | 1 | 275
220 |  | Potentiometer Multiturn 20K | No | 650 | 2 | 1300
221 |  | Fuse BS 110A 690 Volt 200KA | No | 175 | 6 | 1050
Mandatory Spare- Erection Hardware
222 |  | 220 KV H/W Fitting- DTF Suitable for ACSR Single zebra cond with turn buckle | No | 3650 | 1 | 3650
223 |  | DTF Suitable for ACSR Single zebra cond with out turn buckle | No | 3250 | 1 | 3250
224 |  | DTFSuitable for ACSR twin zebra cond with turn buckle | No | 4650 | 1 | 4650
225 |  | DTFSuitable for ACSR twin zebra cond with out turn buckle | No | 4250 | 1 | 4250
226 |  | Single Suspension fitting for ACSR Single zebra cond with through type clamp | No | 1200 | 1 | 1200
227 |  | Single Suspension fitting for ACSR Single zebra cond with drop type clamp | No | 1200 | 1 | 1200
228 |  | Single Suspension fitting for ACSR Twin zebra cond with through type clamp | No | 2400 | 1 | 2400
229 |  | Single Suspension fitting for ACSR Twin zebra cond with drop type clamp | No | 2400 | 1 | 2400
33 KV H/W Fitting-
230 |  | DTF Suitable for ACSR Single zebra cond with turn buckle | No | 3650 | 1 | 3650
231 |  | DTF Suitable for ACSR Single zebra cond with out turn buckle | No | 3250 | 1 | 3250
232 |  | DTFSuitable for ACSR twin zebra cond with turn buckle | No | 4650 | 1 | 4650
233 |  | DTFSuitable for ACSR twin zebra cond with out turn buckle | No | 4250 | 1 | 4250
234 |  | Single Suspension fitting for ACSR Single zebra cond with through type clamp | No | 1200 | 1 | 1200
235 |  | Single Suspension fitting for ACSR Single zebra cond with drop type clamp | No | 1200 | 1 | 1200
236 |  | Single Suspension fitting for ACSR Twin zebra cond with through type clamp | No | 2400 | 1 | 2400
237 |  | Single Suspension fitting for ACSR Twin zebra cond with drop type clamp | No | 2400 | 1 | 2400
Clamp & Connectors-
238 |  | TC on 33KV LA to suit single zebra | No | 735 | 1 | 735
239 |  | TC on 33KV BPI to suit twin zebra | No | 2330 | 1 | 2330
240 |  | TC on 33KV BPI to suit single zebra | No | 895 | 1 | 895
241 |  | Spacer 250mm | No | 905 | 11 | 9955
242 |  | TC on 220 KV BPI to suit single zebra | No | 992 | 1 | 992
243 |  | Al Lug on 33KV Fuse to suit single zebra | No | 1200.92 | 1 | 1200.92
244 |  | 220 KV BPI | No | 19395 | 1 | 19395
245 | II0I001007 | Disc insulator 70 KN | No | 485 | 37 | 17945
Mandatory Spare-Fire prot. System
246 |  | Filled Nitrogen cylinder | No | 75270.88 | 1 | 75270.88
247 | PP1P125002 | Hose pipe with fittings | Set | 15000 | 2 | 30000
248 |  | Heat Detectors | No | 20000 | 3 | 60000
Madatory Spare- 245KV CT
249 | VV3V302001 | 245 KV CT1600/800/1Amp (5Core) 1-PH | No | 349768.72 | 1 | 349768.72
250 |  | 33 KV Potential Transformer | No | 37646.76 | 2 | 75293.52
251 | VV2V204007 | Empty T/F oil drum | Nos. | 0 | [8 empty] | 6 | 0
252 |  | Pilot fiting ACSR Zebra | Nos. | 3001.9 | 30 | 90057
253 | II5I501004 | Double tension fitting ACSR Zebra | Nos. | 8576.87 | 1 | 8576.87
254 | II2I202001 | Tension clamp for 7/9 SWG G.S Earth Wire | Nos. | 1334.18 | 12 | 16010.16
255 | II5I504004 | Suspension Fitting ACSR Zebra | Nos. | 4764.93 | 3 | 14294.79
256 | II3I303008 | Vibration Damper For Earth Wire | Nos. | 1000.64 | 3 | 3001.92
257 | II3I301003 | Mid Span joint ACSR Zebra | Nos. | 1076.31 | 7 | 7534.17
258 | II3I302003 | Repair Sleeve For ACSR Zebra | Nos. | 828.73 | 2 | 1657.46
259 | II0I001001 | Disc Insulator 160KN | Nos. | 565.9 | 290 | 164111
260 |  | Galvanized Steel Structure (Template &Tower) | MT. | 118643.68 |  |  |  |  | 6.04 | 716607.8272
261 |  | Earth Wire 7/9 SWG | Mtr | 66.95 | [8 empty] | 65 | 4351.75
262 | NN5N506031 | Coupling Device(LMU) | Nos. | 200000 | 1 | 200000
263 |  | HF Cable | KM. | 147500 | 0.228 | 33630
264 |  | Al/Aluminium alloy Scrap | Kg. | 25 | [8 empty] | 109 | 2725
265 |  | Old & Used Trip Ckt Supervision Faulty Relay | Nos. | 10 |  |  | 42 | 420
266 |  | ACSR Zebra Conductor ( Cuts & bits) | Mtr. | 100 | 30 | 3000
267 |  | HF cable | Mtr. | 65 | 250 | 16250
268 |  | Galvanized B(2*-15*) Type D/C tower with bolts Nuts flat washer pack washer & stub including body extension (Stub 01 set @ 0.258MT) | MT. | 90210.2102 | 0.258 | 23274.2342
269 |  | Disc insulator 90KN | Nos. | 557.41 | 4 | 2229.64
270 |  | Disc Insulator 160KN | Nos. | 820.98 | 80 | 65678.4
271 |  | Disc insulator 90KN | Nos. | 823.68 | 50 | 41184
272 |  | Old & Used Battery Cell 48 V | Nos. | 50 |  |  | 5 | 250
273 |  | High tension strength Mid Span joint Suitable for ACSR Deer conductor | Nos. | 3304 | 4 | 13216
274 |  | High tension strength Dead End Compression type Suitable for ACSR Deer conductor | Nos. | 11092 | 2 | 22184
275 |  | C-wedge type boltless connector suitable for Zebra to Zebra | Nos. | 3658 | 9 | 32922
276 |  | ACSR Zebra Conductor | Km. | 231471.78 | 1.123 | 259942.8089
277 |  | 33KV (3core) Current Transformer having CT Ratio 800/400/1 with junction box,accuracy class 0.2s(outdoor,oil filled type) | Nos. | 51318.2 | 1 | 51318.2
278 |  | 33KV SF6 Circuit Breakers old & Damaged | Nos. | 10000 | [8 empty] | 1 | 10000
279 |  | 33KV CT Old & Used | Nos. | 15000 | 3 | 45000
280 |  | 33KV CT Old & Used and Dameged(repairable) | Nos. | 5000 | 2 | 10000
281 |  | 30KV Surge Arrestor/Lighting | Nos. | 7670 | 2 | 15340
282 |  | SF6 Gas | Kg. | 2096.86 | 40 | 83874.4
283 |  | Numerical distance protection relay Old & Used Dismantled defective, | Nos. | 200 |  |  | 2 | 400
284 |  | Direction Over Current Relay Old & Used Dismantled defective | Nos. | 100 |  |  | 1 | 100
285 |  | NON Direction Over Current Relay Old & Used Dismantled defective | Nos. | 100 |  |  | 1 | 100
286 |  | Numerical diffrential protection relay Old & Used Dismantled defective, | Nos. | 200 |  |  | 1 | 200
287 |  | Trip Relay minimum 8No.2NC Operatig Relay Old & Used Defectiv | Nos. | 50 |  |  | 5 | 250
288 |  | Three Element Auxilary Relay minimum 4No in Each element Old & Used Defective | Nos. | 50 |  |  | 5 | 250
289 |  | Old & Used T/F Fan | Nos. | 2000 | 1 | 2000
290 |  | 245 KV CT1600/800/1Amp (5Core) 1-PH | No | [9 empty] | 1 | 2000
291 |  | Battery Cell (VRLA) (Defective) | No. | [9 empty] | 110 | 900
292 |  | Spare molecular sieves filter ( capacity 55Kg) | No. | 105680.8 | 8 | 845446.4
293 |  | 36KV Vacuum circuit breaker (3Ph) along with support structure | No. | 477900 | 3 | 1433700
|  |  |  | Total |  | 9931536.6555 |  | 1970 |  | 716607.8272 |  |  |  | 130476.75
Monthly report of inventory categorized for monitoring
Inventory report for the month of :- 23-04-25 to 22.05.2025
Name of Division :- 220 kv O&M Division Piran Kaliyar
Name of S/S;- 132 KV S/S Bhagwanpur | [9 empty] | Name Of J.e Mange Ram
S. No | Item Code | Name of Item | unit | Unit Rate in RS | Usable |  | Unserviceable |  | Non- Moving |  | Obsolete |  | Scrap
[5 empty] | Qty | Total Amount Rs | Qty | Total Amount Rs | Qty | Total Amount Rs | Qty | Total Amount Rs | sur. (2018) | sur. (2020) | sur. (2021) | Scrap Qty (2022) | Scrap Qty (2023) | Scrap Qty (2024) | Total scrap | Amount
1 |  | 132 KV 400 A Isolator connector for Zebra. | No. | 1413 | 2 | 2826
2 |  | 132 KV Isolator Jaw. | No. | 2833 | 3 | 8499
3 |  | 40 MVA LV side T/F Busning block in two pices of size 90*90 mm. | No. | 1414 | 4 | 5656
4 |  | 33 KV T/F Bushing block ACSR twin Moose . Cond. | No. | 2497 | 1 | 2497
5 |  | 33 KV Bus Isolator Clamp for Trantulla Cond. | No. | 706 | 7 | 4942
6 | II1I106002 | 33 KV T.Connector Trantulla to Moose. Cond. | No. | 1213.8 | 2 | 2427.6
7 | II1I107004 | 33 KV T.Connector Moose to Panther. Cond. | No. | 999.6 | 2 | 1999.2
8 |  | 132 KV Comosite long rod Insulator 120 KN | No. | 2938 | 1 | 2938
9 |  | 5 watt LED Type Recharable torch | No. | 2920 | 2 | 5840
10 |  | 33 Kv specer cum droper for ACSR Single Moose Cond. | No. | 1123.65 | 5 | 5618.25
11 |  | 33KV VCB Clamp for Twin Moose | No. | 1021 | 1 | 1021
12 |  | S/T Clamp Suitable For 7/9 SWG E/W | No. | 1112 | 5 | 5560
13 |  | suspension Clamp For 7/10 SWG G.S earth Wire | No. | 752 | 1 | 752
14 |  | Repair sleeve For ACSR Panther Conductor | No. | 444 | 8 | 3552
15 |  | Mid Span Joint For 7/10 SWG G.S earth Wire | No. | 376 | 19 | 7144
16 |  | G.I Earth Wire Fitting For 7/9 SWG | No. | 1700 | 4 | 6800
17 |  | Extension Line For E/W Clamp | No. | 340.5 | 2 | 681
18 |  | "C"-wedge Connecter for Panther to Panther cod.Curr cap-800Amp | No. | 2301 | 6 | 13806
19 |  | "C"-wedge Connecter for Zebra to Zebra cod.Curr cap-1400Amp | No. | 4101 | 1 | 4101
20 |  | "C"-wedge Connecter for Zebra to Panther cod.Curr cap-1400Amp | No. | 3894 | 7 | 27258
21 |  | "Z" Shape Cu Terminal Plate for Isolator | No. | 2944 | 2 | 5888
22 |  | Isolator Connector Suitable for Zebra conductor with 3 No U-grip Nut & bolts cap-800 A | No. | 1416 | 12 | 16992
23 |  | Breaker pad connector for ABB Circuit breaker for Zebra cond Cap-800A | No. | 1416 | 12 | 16992
24 |  | Breaker pad connector for ABB Circuit breaker for Panther cond Cap-800A | No. | 1062 | 12 | 12744
25 |  | CT Clamp Suitable for Panther Cond. With 3 No U-grip Nuts & bolts 800A | No. | 1180 | 12 | 14160
26 |  | Isolator Connector Suitable for panther conductor with 3 No-U grip Nuts & bolts 800A | No. | 1085 | 12 | 13020
27 |  | Pad Connector of CB Suitable for Panther C-wedge Connector | No. | 2030 | 10 | 20300
28 |  | CT Connector for wedge for Panther C-Wedge connector | No. | 2030 | 10 | 20300
29 |  | supply of Breakar pad connecter for ABB CKT bkr.as per Drawing. suitable for Zebra Conductor with 3 nos U-grip nut & bolts having curent cap-800 Amps. | No. | 1469 | 2 | 2938
30 |  | Supply of breakar pad connector suitable for Panther Conductor with 3 nos U-grip nut & bolts having curent cap-600 Amps. | No. | 1176 | 1 | 1176
31 |  | Supply of Al -alloy Isolater connecter suitable for panther Conductor with 2 nos U-grip nut & bolts having curent cap-800 Amps. | No. | 1178 | 1 | 1178
32 |  | T/F oil (O&U) | Ltr | 50 | 620 | 31000
33 |  | SF6 Gas | Kg | 6490 | 18 | 116820
34 |  | Daily Energy A/C | No. | 1026.6 | 12 | 12319.2
35 |  | Daily Log Sheet | No. | 1410 | 12 | 16920
36 |  | Silika gel | Kg | 587.64 | 30 | 17629.2
37 |  | Battery terminal Coating Spary Container | No | 1764 | 5 | 8820
38 |  | 110 Volt Tripping & Closing Coil Bhel Make | No. | 7670 | 6 | 46020
39 |  | 110 Volt Tripping & Closing Coil Alostom Make | No. | 8024 | 1 | 8024
40 |  | 198 KV Surge Arrestor/ Lighting | No. | 82482 | 3 | 247446
41 |  | 120 KV Surge Arrestor/ Lighting | No. | 47082 | 9 | 423738
42 |  | 30 KV Surge Arrestor/ Lighting | No. | 7670 | 6 | 46020
43 |  | 33 KV CT Ratio 200/100/1A (O&U) | No | 3000 | 3 | 9000
44 |  | Recheet wheel assemble with stopper roller | No. | 100300 | 1 | 100300
45 |  | Big pawl with bush bearing | No. | 18290 | 1 | 18290
46 |  | Small pawl with bush bearing | No. | 23010 | 1 | 23010
47 |  | Gas pressure gauge | No. | 29500 | 2 | 59000
48 |  | Gas Density Switch | Set | 156350 | 1 | 156350
49 |  | Aux DC contactor for DC supervion | Set | 10030 | 2 | 20060
50 |  | Antipumping relay contactor | No | 12390 | 1 | 12390
51 |  | Tripping Coil (110V+-10%DC)for CGL make | No | 20650 | 2 | 41300
52 |  | ClosingCoil (110V+-10%DC)for CGL make | No | 20650 | 2 | 41300
53 |  | Limet Switch | No | 7670 | 2 | 15340
54 |  | O-RingP12 | No | 590 | 5 | 2950
55 |  | O-RingP18 | No | 590 | 4 | 2360
56 |  | clatch spring | No | 767 | 1 | 767
57 |  | Fresh T/Foil | Ltr | 133 | 1462 | 194446
58 |  | Set of sirclip Grup Screw Split Pins etc | Set | 6490 | 1 | 6490
59 |  | Motor 230V AC/DC | No | 35400 | 2 | 70800
60 |  | EHV Surge Monitor Having Range (33 KV to 400)With electro Mechnical counter | No. | 14160 | 11 | 155760
61 |  | Pennel Heater for Control & Relay penal | No. | 487.34 | 3 | 1462.02
62 |  | Havels Make 33 KV 400 Sq MM Power Cable | Mtr | 2289.9 | 59 | 135104.1
63 |  | 33 KV Outdoor XLPE Cable Termination Kit for 3x400sqmm | No | 17464 | 1 | 17464
64 |  | Criping Cable Al Lug for cable Size 200 Sqm | No | 293 | 2 | 586
65 | PP0P015016 | Pp Rope of 12 Mm | Mtr. | 53.12 | 100 | 5312
66 |  | Alluminium Tape | Kg | 200 | 40 | 8000
67 |  | AE make Digtal Amp meter CTR 800/400/1A | No. | 4540 | 1 | 4540
68 |  | AE make Digtal M.W moter CTR 800/400/1Aacc 0.5 | No. | 9080 | 1 | 9080
69 | TT1T101019 | Bay maintenace Resister | No. | 454 | 2 | 908
70 |  | 33 KV CT Repaireble Retio-800/400/1Amp | No. | 5000 | 1 | 5000
71 | II0I001007 | Disk insulator 70 KN | No. | 330 | 12 | 3960
72 |  | Disk insulator 120 KN | No. | 2246.75 | 3 | 6740.25
73 |  | Disk insulator 120 KN (O&U) | No. | 100 | 785 | 78500
74 | SS6S610027 | HRC type NS Fuse 415V, 80ka, 2Amp | No. | 70 | 2 | 140
75 | SS6S610026 | HRC type NS Fuse 415V, 80ka, 4Amp | No. | 80 | 10 | 800
76 | SS6S610022 | HRC type NS Fuse 415V, 80ka, 6Amp | No. | 90 | 5 | 450
77 | SS6S610020 | HRC type NS Fuse 415V, 80ka, 10 Amp | No. | 55.46 | 9 | 499.14
78 | SS6S610010 | HRC type NS Fuse 415V, 80ka, 32 Amp | No. | 290.28 | 10 | 2902.8
79 | SS6S610019 | HRC type NS Fuse 415V, 80ka, 16 Amp | No. | 56.64 | 9 | 509.76
80 | TT1T101027 | Inspection Register | No. | 454 | 1 | 454
81 | TT1T101026 | Instruction Register | No. | 454 | 3 | 1362
82 |  | L-shape dropper connector for Tarantulla cond. For 40 MVA T/F. | No. | 1411 | 2 | 2822
83 | TT1T101040 | Message Register | No. | 454 | 2 | 908
84 |  | WTI Meter (0-120 0C ) | No. | 10782.5 | 1 | 10782.5
85 |  | OTI Meter 40/20 MVA T/F | No. | 10782.5 | 1 | 10782.5
86 | MM2M202010 | Volt meter Range -0-40 Kv AC ptr-132 KV / √3 110 V /√3 | No. | 4956 | 1 | 4956
87 | MM2M202013 | Volt meter Range -0-150 Kv DC 110 V Dc | No. | 4130 | 1 | 4130
88 | MM2M203007 | Ampere meter Range -0-800 Amp AC CTR 800/ 1 Amp 110 V DC | No. | 10620 | 2 | 21240
89 | MM2M204006 | MW Meter Range 100-0-100 MW PTR 132 KV √V CTR 400/1 Amp | No. | 10620 | 1 | 10620
90 |  | MW Meter Range 50-0-50 MW PTR 132 KV √V CTR 800/1 Amp | No. | 10620 | 1 | 10620
91 |  | One side boltless Wedge CT Connector C-wedge Connector zebra To Zebra Conductor | No. | 3540 | 1 | 3540
92 |  | One side boltless Wedge Isolator Connector C-wedge Connector zebra To Zebra Conductor | No. | 3540 | 3 | 10620
93 |  | One side boltless Wedge 4 Hole pad connector Connector C-wedge Connector zebra To Zebra Conductor | No. | 3540 | 3 | 10620
94 | II01005001 | PG Clamp Zebra to Zebra | No. | 685 | 2 | 1370
95 | II01005002 | PG Clamp Panther to Zebra. | No. | 619 | 1 | 619
96 |  | Repair Sleave for Panther cond. | No. | 600 | 9 | 5400
97 | FF3F302001 | Rail105 LBS (Bend) 1.80 mtr. Long | No. | 800 | 1 | 800
98 |  | Type MK-1 L&T DOL Starter 3 phase 415V,15Amp with O/L Relay. | No. | 3292 | 2 | 6584
99 |  | Transformer Maintenance Register. | No. | 454 | 4 | 1816
100 | II5I501005 | Bolted Type Tension fitting for panther (O&U) | No. | 1200 | 19 | 22800
101 | II5I501006 | Bolted Type Suspension fitting for panther (O&U) | No. | 1200 | 3 | 3600
102 | II5I501001 | Bolted Type Single Tension fitting for Tarantulla cond.(O&U) | No. | 2000 | 22 | 44000
103 |  | T/F Cooling Fan O&U. | No. | 16048.9 | 4 | 64195.6
104 |  | T Clamp for Panther O&U. | No. | 300 | 11 | 3300
105 | SS5S502001 | 11KV TPMO (inc.) | No. | 4000 |  |  |  |  | 2 | 8000
106 |  | 33 KV CT ratio 50/25/1A | No. | 18300 |  |  |  |  | 3 | 54900
107 |  | ACSR Moose Cond cut & bits | Mtr. | 160 |  |  |  |  | 4 | 640
108 |  | ACSR Panther Cond cut & bits | KM | 232512.5 | 0.553 | 128579.4125
109 |  | ACSR Tarantulla Cond In Cut & bits | Mtr. | 140 |  |  |  |  | 179 | 25060
110 |  | ACSR Tarantulla Cond In Cut & bits (Scrap) | Mtr. | 140 |  |  |  |  | 8 | 1120
111 | II0I002001 | PG Clamp Tarantulla to Tarantulla. | No. | 619 |  |  |  |  | 14 | 8666
112 |  | T-clamp for Tarantulla to Tarantulla cond. | No. | 300 |  |  |  |  | 12 | 3600
113 |  | CT clamp for Tarantulla | No. | 806 |  |  |  |  | 3 | 2418
114 |  | CT clamp for Tarantulla cond. (O&U) | No. | 300 |  |  |  |  | 12 | 3600
115 |  | T Clamp for Tarantulla to Panther O&U. | No. | 400 |  |  |  |  | 28 | 11200
116 |  | T/F bushing clamp for Tarantulla cond. O&U. | No. | 500 |  |  |  |  | 6 | 3000
117 |  | Galvanized steel tower part | MT | 130625 | 2.533 | 330873.125
Scrap items
118 |  | 33 KV Circuit breakar Bhel Make (O&U) defective | No | 25000 | [13 empty] | 3 |  | 75000
119 |  | 33 KV LA Damage (Scrap) | No | 200 |  | 200 | [8 empty] | 1 |  |  |  | 1 | 200
120 |  | ACSR Panther Cond Scrap | Kg | 100 | 441.7 | 44170
121 |  | 7/10 SWG G.S eart wire Scrap | Kg | 20 | [10 empty] | 53.5 | 65 |  |  | 118.5 | 2370
122 |  | 132 KV CT Damage ratio 800/400/1A. | No. | 2000 | [10 empty] | 1 | 1 |  |  | 2 | 4000
123 |  | 132 KV CT Damage ratio 200/1A. | No. | 2000 | [11 empty] | 1 |  |  | 1 | 2000
124 |  | 36 KV CT damage ratio 800/400/1A | No. | 4000 | [11 empty] | 1 |  |  | 1 | 4000
125 |  | Energy Meter (O& U) obsolete U/S | No. | 20 | [9 empty] | 0 |  | 1 |  |  | 1 | 20
126 |  | Empty T/F oil Drum 45 gallon capacitor | No. | 150 | [10 empty] | 2 |  |  |  | 2 | 300
127 |  | Empty Drum of T/F oil | No. | 200 | [14 empty] | 5 | 1000
128 |  | Aluminium scrap of Clamp /conector | Kg | 80 | [8 empty] | 0 | 5 | 4.25 | 8.5 |  |  | 17.75 | 1420
129 |  | Aluminium scrap | Kg | 50 | [12 empty] | 0.5 |  |  | 0.5
130 |  | 132 KV LA (O&U) Damage Completely (scrap) | No. | 50 | [12 empty] | 1 |  | 1 | 50
131 |  | M.S Scrap (Junction Box) | Kg | 15 | [11 empty] | 15 |  |  | 15 | 225
132 |  | XLPE Cable 3x400 Sq mm Damage (Scrap) | Mtr | 30 | [10 empty] | 28 | 16 |  |  | 44 | 1320
133 |  | O/C ,E/F Relay (ABB) (Scrap) | No. | 50 | [14 empty] | 2 | 100
134 |  | Distance Protection Relay obsolerte Scap | No. | 50 | [14 empty] | 2 | 100
135 | AA1A101002 | G.S. Earth wire 7/10 SWG O&U in cutpice. (SCRAP) (1mtr =.47 kg)=.47x.200=94 Kg | KM | 25000 | [10 empty] | 0.20 ( 94 Kg) |  |  |  | 0.20 ( 94 Kg) | 5000
136 |  | Disk Insulator broken (Srap) | No | 10 | [12 empty] | 43 |  | 43 | 430
|  |  |  | Total |  | 3187997.6575 |  |  |  | 122204 | [9 empty] | 22535.5
Store Inventry
|  | Total usable material |  | 3187997.6575
|  | Non movable Material |  | 122204
|  | Scrap Material |  | 22535.5
|  | Total store Inventry 2024-25 |  | 3332737.1575
Name of Zone- Garhwal
Name of Circle- Roorkee
Name of Division- 220 KV O&M Division Imlikheda(Piran Kaliyar)
Name of Sub-Station- 132 KV Sub- Station Chudiyala
Month- MAY -2025
S.No. | Item Code | Name of Item | Unit | Unit Rate in Rs. | Useable |  | Unserviceable |  | Non-Moving |  | Obsolete |  | Scrap |  | Total Inventory Amt.
[5 empty] | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Total Amount in Rs.
1 | VV5V406003 | C.T Junction Box | No. | 4540 | 1 | 4540
2 | VV6V601003 | P.T Junction Box | No. | 4540 | 2 | 9080
3 |  | 132 KV Post Insulator | No. | 12720 | 2 | 25440
4 |  | Main & auxiluries lattice structure for 132 KV Gantries equipment | MT | 106414.4 | 1.408 | 149831.4752
5 |  | GI cable Tray150mm | Mtr | 221.33 | 50 | 11066.5
6 |  | GI cable Tray100mm | Mtr | 221.33 | 19 | 4205.27
7 |  | GI cable Tray75mm | Mtr | 100 | 20 | 2000
8 |  | GI flat 50X6mm | MT | 88341 | 0.28 | 24735.48
9 | FF2F201004 | Ms Rod 36mm dia. | MT | 84325 | 0.042 | 3541.65
10 |  | U- Bolt | No. | 50 | 18 | 900
11 | CC3C303001 | Indoor Type End termination Kit 33 KV 400x3 XLPE Cable(New) | No. | 28084 | 1 | 28084
12 | CC1C104002 | LT cable3.5x400 Sq mm | Mtr | 700 | 55 | 38500
13 | CCOCOO2011 | PVC control cable 4X2.5 sq mm(W/o Armoured) | Mtr | 96.29 | 48 | 4621.92
14 | CCOCOO1003 | PVC Control cable 18x2.5 mm sq ( O/U)(Armoured) | Mtr | 100 | 40 | 4000
15 | AA0A002004 | ACSR Panther Conductor Panther | Mtr | 232 | 240 | 55680
16 | II5I501005 | ACSR Panther Comprension Type Single Tension fitting | No. | 4534.33 | 14 | 63480.62
17 |  | 33KV Isolator Jaw (Repairable) | No. | 100 | 3 | 300
18 | II3I301004 | Mid-Span Joint for Panther to Panther Cond. | No. | 1935.33 | 3 | 5805.99
19 | II3I302004 | Repair Sleeve for Panther Cond. | No. | 851.25 | 3 | 2553.75
20 | II0I001007 | Disc insulator 70 KN | No. | 340 | 2 | 680
21 | II0I001003 | Disc insulator 120 KN | No. | 850 | 14 | 11900
22 |  | HRC Fuse 63 Amp | No. | 354 | 2 | 708
23 |  | T/F Cooling Fan (O/U) | No. | 1000 | 1 | 1000
24 | II5I501005 | ACSR Panther Single Suspension Fitting | No. | 2912 | 2 | 5824
25 |  | 33KV Isolator blade Repairable(O/D) | No. | 344 | 1 | 344
26 | TT1T101032 | Max.-Min. Register | No. | 849.6 | 3 | 2548.8
27 |  | G.I. Earthwire Fitting For 7/9 S.W/G | No. | 1700.23 | 6 | 10201.38
28 |  | Extension Link for E/W Clamp | No. | 340.5 | 10 | 3405
29 |  | 220V AC/DC spring charging motor (Universal motor for FSA opreting mechanism) | No. | 22774 | 1 | 22774
30 |  | 220/110 V DC trip-2 coil (220/110 V DC trip-2 coil for FSA operating mechanism) | No. | 5664 | 1 | 5664
31 |  | 220/110 V DC trip-1 coil (220/110 V DC trip-1 coil for FSA operating mechanism) | No. | 5664 | 1 | 5664
32 |  | Yellow switching element (Spring charging motor limit switch ) | No. | 826 | 1 | 826
33 |  | Bule switching element (Spring charging motor limit switch ) | No. | 826 | 1 | 826
34 |  | Auxiiliary switch for FSA drive (Wiping contact type auxiliary switch) | No. | 19116 | 1 | 19116
35 |  | Empty T/F oil Drum 45 gallon capacity | No. | 150 | 10 | 1500
36 | TT1T101029 | Log sheet | No. | 1274.4 | 1 | 1274.4
37 |  | Biometric Attendance machine | No. | 14691 | 1 | 14691
38 |  | ACSR Zebra conductor(O/U) in cut lenth | Mtr | 150 | 100 | 15000
39 |  | 33 KV Cast resin wound CT 1200-600/1-1A(ABB indoor) | No. | 107675 | 2 | 215350
40 |  | 33 KV Cast resin wound CT 800-400/1-1A(ABB indoor) | No. | 95875 | 2 | 191750
41 | CC3C307001 | 33 KV XLPE outdoor cable termination kit 3X400 mm² | No. | 31388 | 2 | 62776
42 | CC3C303001 | 33 KV XLPE Indoor cable termination kit 3X400 mm² | No. | 27140 | 2 | 54280
43 |  | Difective 132 KV ABB make Breaker pole type LTB 145/D1 (O&U) | No. | 10000 | 1 | 10000
44 |  | Alluminium Tape | Kg. | 200 | 2.75 | 550
45 |  | Transformer oil old & used | Ltr | 25 | 765 | 19125
46 |  | 40 MVA T/F IMP make Diffective(PT6937) O&U | No. | 7000000 | 1 | 7000000
47 |  | 120 KV Surge Arrestor/Lighting Arrestor | No. | 47082 | 2 | 94164
48 |  | 33 KV Surge Arrestor/Lighting Arrestor | No. | 7670 | 1 | 7670
49 |  | Empty T/F oil Drum | No. | 300 | 10 | 3000
50 |  | Daily Supply Register | No. | 849.6 | 1 | 849.6
51 |  | Stoppage Register | No. | 849.6 | 1 | 849.6
52 |  | Sliding Plate for 33 KV Indoor breaker (ABB) | No. | 1463.2 | 1 | 1463.2
53 | (710.24)117,L-316 | Top Drive Unit assembly(Diffective) | No. | 100 | 1 | 100
54 |  | Apoxy Insulation Spray | No. | 2171.2 | 1 | 2171.2
55 |  | Transformer oil (New) | Ltr | 135.7 | 402 | 54551.4
56 |  | Spare Molecular sives Filter (Capasity 55 Kg) for On Line Moisture Removal System | No. | 105680.8 | 4 | 422723.2
57 |  | 70 KN Silicon Insulator | No. | 4874 | 2 | 9748
58 |  | 33 KV Isolator Clamp for Twin Zebra conductor | No. | 2944.1 | 1 | 2944.1
59 |  | 33 KV CT Clamp for Twin Zebra conductor | No. | 2944.1 | 1 | 2944.1
60 |  | GI cable Tray150mm | Mtr | 221.33 |  |  |  |  | 48 | 10623.84
61 |  | U- Bolt | No. | 50 |  |  |  |  | 18 | 900
Scrap Without survey 2023
1 |  | Enargy Meter make Secure (R-Back)(O/U) | No. | 100 | [8 empty] | 11 | 1100
2 |  | Energy meters L&T make (O/U) | No. | 2000 | [8 empty] | 14 | 28000
3 |  | Energy meters L&T mak (R-Back)(O/U) | No. | 100 | [8 empty] | 4 | 400
4 | (13.1.23)65,L-330 (15.6.23)101 L-330 (23.03.24)134-135 | Aluminium Scrap | Kg. | 50 | [8 empty] | 10.4 | 520
5 | (2.5.23)81,L-330 (7.9.23)120,L-330 | TCS Relay (Damaged) | No. | 25 | [8 empty] | 2 | 50
6 | (7.9.23)120,L-330 | Earth Wire Scrap | Kg. | 20 | [8 empty] | 780 | 15600
7 | (25.01.24)44, L-337 | RTCC Panel(20 MVA T/F NGEF make) Scrap | No. | 1000 | [8 empty] | 1 | 1000
8 |  | Empty T/F oil Drum as Scrap | No. | 300 | [8 empty] | 53 | 15900
62570
Scrap Without survey 2024-25
1 | (04.04.24)60, L-337 | 33 KV LA (Damaged) | No. | 25 | [8 empty] | 3 | 75
2 | (10.09.24)76, L-337 | Copper alloy Scrap (33 KV Isolater blade copper tube) | Kg. | 250 | [8 empty] | 2 | 500
3 | (7.10.24)117,L-316 | Aluminium Scrap | Kg. | 50 | [8 empty] | 1 | 50
4 | (7.10.24)117,L-316 | PVC scrap | Kg. | 7 | [8 empty] | 1 | 7
5 | (15.04.25)102, L-337 | Disc Insulator(Damaged) | No. | 5 | [8 empty] | 23 | 115
[12 empty] | Total |  | 747
|  | TOTAL |  |  |  | 8719322.6352 |  |  |  | 11523.84 |  | Grand Total |  |  | 8794163.4752