## roorkee division
Inventory
Name of Zone:- |  | Garhwal Zone Roorkee
Name of Circle:- |  | Roorkee Circle
Name of Division:-220kV O&M Division Roorkee
Name of Substation:-220kV S/s Roorkee (Central Store)
Month:- May-2025
S. No | Item code | Name of items | Unit | Unit Rate | Usable |  | unserviceable |  | Nov-Moving |  | Obsolete |  | Scrap |  | Total Inventory Amount
[5 empty] | Qty | Total Amount in Rs. | Qty | Total Amount in Rs. | Qty | Total Amount in Rs. | Qty | Total Amount in Rs. | Qty | Total Amount in Rs.
Tower parts
1 | FF0F045001 | Stub cleat 132kv tower part A type mark D.K | kg | 30 | 723.83 | 21714.9 | [8 empty] | 21714.9
2 |  | Tower part G.I angle ABC type incomplete | kg | 30 | 394 | 11820 | [8 empty] | 11820
3 |  | D.K 302 cleat | No | 20 | 16 | 320 | [8 empty] | 320
4 |  | Tower part ABC type 220kv incomplete | kg | 30 | 7612 | 228360 | [8 empty] | 228360
5 |  | Tower part 400kv A type mark 33A | kg | 30 | 511 | 15330 | [8 empty] | 15330
6 |  | Tower part 400kv B type mark 33B w/o stub & cleat | kg | 30 | 8138 | 244140 | [8 empty] | 244140
7 |  | 400kv B type tower o/u dismantled w/o stub & cleat | MT | 30000 | 21.0084 | 630252 | [8 empty] | 630252
8 |  | Stub & cleat 400kv B type | kg | 30 | 426.28 | 12788.4 | [8 empty] | 12788.4
9 |  | G.I tower part angle 400kv ABC type incomplete | kg | 30 | 8361 | 250830 | [8 empty] | 250830
10 |  | Stucture fabricated 132kv CBB,CLA,GA and other type | MT | 30000 | 2.072 | 62160 | [8 empty] | 62160
11 |  | Stucture 2phase P.T | No | 500 | 1 | 500 | [8 empty] | 500
12 |  | Templet 132kv +3mtr extation m.s | Set | 10000 | 1 | 10000 | [8 empty] | 10000
13 |  | Templet 132kv Btype D.k mark | Set | 10000 | 2 | 20000 | [8 empty] | 20000
14 |  | Templet 400kv C type tower 60 | Set | 8000 | 1 | 8000 | [8 empty] | 8000
15 |  | 132kv c type D.C tower part o/u dismantled incomplete | kg | 30 | 245.4 | 7362 | [5 empty] | ` |  |  | 7362
16 |  | 132kv c type D.C tower part | Mt | 30000 | 4.876 | 146280 | [8 empty] | 146280
17 |  | ABC type fabricated Gal. steel D.C super stucture tower part including stub&cleat. | Mt | 50000 | 5.386 | 269300 | [8 empty] | 269300
18 | FF0F050035 | Supply gantry bold beam setting 8No | MT | 50000 | 1.28 | 64000 | [8 empty] | 64000
GI Nut & bolts
1 |  | G.I, bolt & nut 5/8x3" | kg | 30 | 49 | 1470 | [8 empty] | 1470
2 |  | G.I bolt & nut 5/8X70mm | kg | 30 | 422 | 12660 | [8 empty] | 12660
3 |  | G.I bolt & nut 5/8"X75mm | kg | 30 | 734 | 22020 | [8 empty] | 22020
4 |  | G.I bolt & with washer 16X75mm | No | 1 | 320 | 320 | [8 empty] | 320
5 |  | M/S bolt with nut 8" long | No | 1 | 144 | 144 | [8 empty] | 144
6 |  | Bolt eyes off size with nut | No | 1 | 33 | 33 | [8 empty] | 33
Metering Equipment
1 |  | Coupling capacitor for 220kv seemance make | No | 30000 | [6 empty] | 1 | 30000 |  |  | 30000
2 |  | 33kv double T/F feeder pannel | No | 108800 | 1 | 108800 | [8 empty] | 108800
3 |  | 132kv feeder control pannel | No | 100000 | 1 | 100000 | [8 empty] | 100000
4 | VV6V503002 | 145kv/110v PT | No | 98000 | [6 empty] | 1 | 98000 |  |  | 98000
Metering Equipment obsolete/defective
1 |  | Current Transformer Ratio 300-150-1-1-1Amp | No | 50000 | [6 empty] | 2 | 100000 |  |  | 100000
2 |  | Current Transformer porceline coller damaged Repairble | No | 20000 | [6 empty] | 1 | 20000 |  |  | 20000
3 |  | Current Transformer Ratio 500-250-1 deffective 3 core dismantled Talk make not repairble | No | 50000 | [6 empty] | 1 | 50000 |  |  | 50000
4 |  | 132kv c.t 800-400-200-1 HBB make o/u dismantled Repairble due to ballon | No | 30000 | [6 empty] | 1 | 30000 |  |  | 30000
5 |  | Transformer current 66kv 2/50/1 o/u deffective | No | 5000 | [6 empty] | 1 | 5000 |  |  | 5000
6 |  | Coupling capacitor for 66kv o/u | No | 15000 | [6 empty] | 1 | 15000 |  |  | 15000
7 |  | Control Desk , LADS | No | 25000 | [6 empty] | 2 | 50000 |  |  | 50000
8 |  | 33kv c.t 40/1 Amp | No | 15000 | [6 empty] | 4 | 60000 |  |  | 60000
Connector
1 | II1I106003 | T.Connetor Alluminum Taruntulla to Dear | No | 250 | [6 empty] | 46 | 11500 |  |  | 11500
2 | II1I106005 | T.Connetor Alluminum Taruntulla to Panther | No | 250 | 24 | 6000 | [8 empty] | 6000
3 |  | T.connector Allumunum Dear to Taruntulla | No | 150 | [6 empty] | 7 | 1050 |  |  | 1050
4 | II1I108001 | T. connector Alluminum Dear to Dear | No | 100 | 10 | 1000 | [8 empty] | 1000
5 |  | T.connector Allumunum Panther to Dear | No | 150 | 19 | 2850 | [8 empty] | 2850
6 |  | T.connector Alluminum Panther/truntulla | No | 100 | 16 | 1600 | [8 empty] | 1600
7 |  | T.connector Alluminum Dog to LAS | No | 10 | [6 empty] | 5 | 50 |  |  | 50
8 |  | T.connector Alluminum Dog to Panther | No | 40 | 1 | 40 | [8 empty] | 40
9 |  | T.connector Alluminum for LAS | No | 10 | 15 | 150 | [8 empty] | 150
10 |  | T.connector Alluminum for 132kv Isolator( A type) | No | 275 | 3 | 825 | [8 empty] | 825
11 |  | T.connector Alluminum for 132kv Isolator( B type) | No | 275 | 3 | 825 | [8 empty] | 825
12 |  | T.connector Alluminum Biomatalic for 33kv PT | No | 50 | 3 | 150 | [8 empty] | 150
13 | II0I002005 | P.G Clamp truntulla to panther | No | 350 | 12 | 4200 | [8 empty] | 4200
14 | II0I002001 | P.G Clamp truntulla to taruntulla | No | 650 | 51 | 33150 | [8 empty] | 33150
15 |  | connector Biomatalic for Dear/LAS | No | 11 | [6 empty] | 57 | 627 |  |  | 627
16 |  | Connetor Dear terminal 30X80 | No | 100 | [6 empty] | 5 | 500 |  |  | 500
17 |  | Connetor Allu. Ally o/s | No | 25 | [6 empty] | 52 | 1300 |  |  | 1300
Clamp & 33kv line maerials
1 |  | Clamp dead end 16 unit 220kv 120 sqmm sp.condutor | No | 50 | [6 empty] | 6 | 300 |  |  | 300
2 |  | Clamp dead end for sp.conductor | No | 45 | [6 empty] | 1 | 45 |  |  | 45
3 |  | Clamp sp. For 132kv Dear/panther | No | 40 | [6 empty] | 6 | 240 |  |  | 240
4 |  | Clamp dead end for Dear | No | 45 | [6 empty] | 3 | 135 |  |  | 135
5 |  | Clamp suspension for truntulla conductor | No | 55 | [6 empty] | 2 | 110 |  |  | 110
6 |  | Clamp 33kv LAS | No | 12 | [6 empty] | 10 | 120 |  |  | 120
7 |  | Clamp 33kv T/F End for panther | No | 42 | [6 empty] | 10 | 420 |  |  | 420
8 |  | Clamp 37.5kv LAS | No | 2 | [6 empty] | 19 | 38 |  |  | 38
9 |  | Clamp 33kv isolator | No | 25 | [6 empty] | 6 | 150 |  |  | 150
10 |  | Clamp post insulator 37.5kv LAS | No | 45 | [6 empty] | 9 | 405 |  |  | 405
11 |  | Clamp T type Biomatalic 30X2 panther | No | 60 | [6 empty] | 1 | 60 |  |  | 60
Spair of 11kv switch gear 200-100-5-600-300Amp bhel make sd-198
1 | JJ6J601012 | Contact moving | No | 35.39 | [6 empty] | 54 | 1911.06 |  |  | 1911.06
2 |  | Gaskit B 6400/10-1 | No | 15.94 | [6 empty] | 27 | 430.38 |  |  | 430.38
3 |  | Gaskit B 6400/10-2 | No | 15.94 | [6 empty] | 27 | 430.38 |  |  | 430.38
4 |  | Gaskit B 6400/10-3 | No | 25.95 | [6 empty] | 54 | 1401.3 |  |  | 1401.3
5 |  | Gaskit B6400/10-4 | No | 15.94 | [6 empty] | 27 | 430.38 |  |  | 430.38
6 | JJ6J601014 | Gaskit holder LV fuse PT | No | 15.94 | [6 empty] | 27 | 430.38 |  |  | 430.38
7 | JJ6J601015 | Pocker B 94012017-2 | No | 25.95 | [6 empty] | 127 | 3295.65 |  |  | 3295.65
8 | JJ6J601016 | Resistant spring 9400-56-1 | No | 25.97 | [6 empty] | 108 | 2804.76 |  |  | 2804.76
9 | JJ6J601017 | Rose contact adopter | No | 35.93 | [6 empty] | 54 | 1940.22 |  |  | 1940.22
10 | JJ6J601018 | Spring for proft shaft | No | 26.4 | [6 empty] | 54 | 1425.6 |  |  | 1425.6
Spair of 11kv switch gear type bvb-3 bhel make
1 | JJ6J601019 | Cross jet pot | No | 500 | [6 empty] | 60 | 30000 |  |  | 30000
2 | JJ6J601020 | Coil over current | No | 250 | [6 empty] | 30 | 7500 |  |  | 7500
3 |  | Contact moving | No | 500 | [6 empty] | 60 | 30000 |  |  | 30000
4 | JJ6J601022 | Socket assembly | No | 500 | [6 empty] | 60 | 30000 |  |  | 30000
Spair part of 11kv ocb bicco make
1 | JJ6J601035 | Triping plate assembly with priver leaves | No | 200 | [6 empty] | 10 | 2000 |  |  | 2000
2 | JJ6J601036 | Insulator copper Busbar | No | 1500 | [6 empty] | 2 | 3000 |  |  | 3000
3 | JJ6J601037 | Buffer spring | No | 20 | [6 empty] | 4 | 80 |  |  | 80
4 | JJ6J601038 | Trip bridge assembly | No | 630 | [6 empty] | 12 | 7560 |  |  | 7560
5 | JJ6J601039 | Angus roller shack block | No | 125 | [6 empty] | 27 | 3375 |  |  | 3375
6 | JJ6J601040 | Expoty Gross jet pot | No | 1500 | [6 empty] | 21 | 31500 |  |  | 31500
7 | JJ6J601041 | Fuse time limit | No | 50 | [6 empty] | 42 | 2100 |  |  | 2100
8 | JJ6J601042 | Finger contact sping for Rose contact | No | 30 | [6 empty] | 350 | 10500 |  |  | 10500
9 | JJ6J601010 | Trolly bushing made of Epoxy | No | 500 | [6 empty] | 30 | 15000 |  |  | 15000
10 |  | Femal main contact&alimated finger contact for 800 Amp pdb ocb bicco | Pair | 30 | [6 empty] | 200 | 6000 |  |  | 6000
11 |  | 11kv 350mva 120A incoming OCB type PD/BC for 11kv ocb bicco make | No | 284000 | [6 empty] | 1 | 284000 |  |  | 284000
12 |  | Amp meter 6"dia0-110 Amp for 11kv Bicco make | No | 100 | [6 empty] | 1 | 100 |  |  | 100
13 | JJ6J601004 | Alluminum chamber for 11kv OCB Bico make | No | 1000 | [6 empty] | 9 | 9000 |  |  | 9000
14 | JJ6J601045 | Check alarm relay | No | 500 | [6 empty] | 1 | 500 |  |  | 500
15 |  | 11kv single core single ratio-12-05VA 400/5A C.T | No | 5000 | [6 empty] | 11 | 55000 |  |  | 55000
16 | JJ6J601005 | Gear chain for 11kv Bicco make OCB | No | 200 | [6 empty] | 1 | 200 |  |  | 200
17 | JJ6J601006 | 11kv bushing insulator suitable Bicco make OCB (1No broken) | No | 500 | [6 empty] | 39 | 19500 |  |  | 19500
18 | JJ6J601007 | Brass Nut for jack 11kv Bicco OCB | No | 150 | [6 empty] | 1 | 150 |  |  | 150
19 | JJ6J601046 | Spout contact made of brass suitable copper with busbar | No | 350 | [6 empty] | 6 | 2100 |  |  | 2100
20 |  | 11kv single core core CT C-12, 5MVA 800/5 | No | 5000 | [6 empty] | 10 | 50000 |  |  | 50000
21 |  | 11kv C.T single core ratio 1200/5A | No | 5000 | [6 empty] | 3 | 15000 |  |  | 15000
22 |  | 12ooAmp Resion casted spout assembly w/o shutter adoptor with link machanosum front &rear | Set | 2500 | [6 empty] | 2 | 5000 |  |  | 5000
23 |  | 11kv PT o/u | No | 5000 | [6 empty] | 1 | 5000 |  |  | 5000
24 |  | Set moving contact for 1200Amp pdb/pc consisting of 3no u shap moving contact 36no fixed arking laminated finger with spring nut&bolt | Set | 5000 | [6 empty] | 3 | 15000 |  |  | 15000
25 | JJ6J601047 | Female contact w/o Nut 11kv 250mva switch Gear bocco make | No | 200 | [6 empty] | 2 | 400 |  |  | 400
26 | JJ6J601048 | Connecting with Nut for 11kv 250mva switch Gear Bicco make | No | 20 | [6 empty] | 2 | 40 |  |  | 40
27 |  | Paper seprater | No | 20 | [6 empty] | 2 | 40 |  |  | 40
28 | VV4V306009 | 11kv c.t ratio 100-5-0-5 | No | 5000 | [6 empty] | 3 | 15000 |  |  | 15000
29 | VV4V306007 | 11kv ct 200-100-5 suitable for 11kv OCB Bicco make | No | 5000 | [6 empty] | 1 | 5000 |  |  | 5000
Spair of isolator defrent make & cap.
1 |  | 132KV SMC make isolator blade | No | 800 | 4 | 3200 | [8 empty] | 3200
2 |  | 132kv s&s make isolator male&femal contact | No | 2000 | 10 | 20000 | [8 empty] | 20000
3 |  | Operating assemblly for 132kv isolator | No | 800 | [6 empty] | 2 | 1600 |  |  | 1600
4 |  | G.I pipe 50mm dia 2.9mtr long for 220kv Havel make isolator | No | 200 | 12 | 2400 | [8 empty] | 2400
5 |  | Rotary head devicefor 220/132kv HBB make isolator | No | 200 | [6 empty] | 30 | 6000 |  |  | 6000
6 |  | Botam operting type machnisum 6 normaly open 6 normaly closed switch with handle | No | 1000 | 1 | 1000 | [8 empty] | 1000
Spair part of t/f 20 mva nge make 132/33kv def make & cap.
1 | VV1V101034 | Bushing 40MVA T/F 145kv alston make | No | 15000 | 1 | 15000 | [8 empty] | 15000
2 | VV1V101038 | Bushing LV 20MVA T/F 132KV GEC make | No | 5000 | 1 | 5000 | [8 empty] | 5000
3 | VV1V101040 | Bushing H.T for 132kv 12.5 MVA T/F BBC make | No | 1000 | 1 | 1000 | [8 empty] | 1000
4 |  | Bushing LV with brass rod complete | No | 500 | [8 empty] | 2 | 1000 | 1000
5 |  | Bushing LT 132kv /33 | No | 500 | [8 empty] | 1 | 500 | 500
6 |  | Bushing LV with metal part of 20MVA 132/33kv BB,make T/F | No | 1000 | [8 empty] | 1 | 1000 | 1000
7 | VV2V202003 | Convention silica zell breather of 40/20MVA T/F | No | 350 | 6 | 2100 | [8 empty] | 2100
8 |  | Bushing HV w/o fexture clamp NGEF make T/F 132/33KV o/u | No | 1500 | [6 empty] | 2 | 3000 |  |  | 3000
9 |  | HV bushing 66kv 5MVA T/F BHEL make o/u | No | 1000 | [6 empty] | 3 | 3000 |  |  | 3000
10 |  | Vent pipe | No | 200 | [6 empty] | 1 | 200 |  |  | 200
11 | VV2V215005 | Equalizing pipe 1"dia | No | 400 | [6 empty] | 2 | 800 |  |  | 800
12 | VV2V215007 | Equalizing pipe 3/4"dia | No | 100 | [6 empty] | 2 | 200 |  |  | 200
13 |  | Buchleze relay pipe small | No | 100 | [6 empty] | 1 | 100 |  |  | 100
14 |  | Buchleze relay pipe long | No | 150 | [6 empty] | 1 | 150 |  |  | 150
15 | VV2V215007 | Arking horn for LV bushing | No | 50 | [6 empty] | 5 | 250 |  |  | 250
16 | VV2V215008 | M.S flate belt for fixing Rediater | No | 25 | [6 empty] | 1 | 25 |  |  | 25
17 | VV2V215009 | LV bushing ring | No | 15 | [6 empty] | 5 | 75 |  |  | 75
18 |  | Minimum oil guase | No | 5000 | [6 empty] | 1 | 5000 |  |  | 5000
19 |  | 33kv porcoline bushing complete with rod BHEL | No | 1000 | [6 empty] | 1 | 1000 |  |  | 1000
20 |  | Bushing insulator 44kv | No | 100 | [6 empty] | 1 | 100 |  |  | 100
21 |  | Bushing of CT 800Amp | No | 100 | [6 empty] | 2 | 200 |  |  | 200
Spair part of 132kv mocb 1250Amp 4500MVA HLD145
1 |  | Contraction extiquiser chamber | No | 100000 | [6 empty] | 5 | 500000 |  |  | 500000
Spair parts of 132KV Asea make breaker
1 | JJ3J302009 | Contraction extiquiser chamber | No | 10000 | [6 empty] | 1 | 10000 |  |  | 10000
Spair parts of 132KV Breaker SD209
1 |  | Contraction extiquiser chamber | No | 10000 | [6 empty] | 1 | 10000 |  |  | 10000
Spair of 132KV Jyoti make ocb
1 |  | Set of high&Low pressure pipe incomplete 12No | Set | 5126 | [6 empty] | 1 | 5126 |  |  | 5126
Spair parts of 33kv ocb takaka make.
1 | JJ5J502057 | Porciline bushing | No | 17000 | [6 empty] | 1 | 17000 |  |  | 17000
Spair of 33kv mocb bhel make hlc-36
1 | JJ5J502046 | Warm wheel assebly | No | 7800 | [6 empty] | 10 | 78000 |  |  | 78000
2 | JJ5J502022 | Extinguisher chamber | No | 7000 | [6 empty] | 6 | 42000 |  |  | 42000
3 | JJ5J502050 | Guide block assemlly | No | 5000 | [6 empty] | 3 | 15000 |  |  | 15000
Pipe line Accessorise
1 |  | GI T 50x50x5mm o/u | No | 10 | [8 empty] | 7 | 70 | 70
2 |  | GI Socket 65mm dia o/u | No | 10 | [8 empty] | 6 | 60 | 60
3 |  | GI union o/u | No | 5 | [8 empty] | 16 | 80 | 80
Ferrules all type
1 |  | Ferrules weak back 185 sqmm | No | 50 | [6 empty] | 6 | 300 |  |  | 300
2 |  | Ferules 0-75/0.50 sqmm | No | 10 | [6 empty] | 54 | 540 |  |  | 540
3 |  | Ferules back 5/300 | No | 20 | [6 empty] | 5 | 100 |  |  | 100
4 |  | Ferules back 12/70sqmm | No | 20 | [6 empty] | 36 | 720 |  |  | 720
5 |  | Ferules back 21/120sqmm | No | 20 | [6 empty] | 60 | 1200 |  |  | 1200
6 |  | Female back 4/25sqmm | No | 20 | [6 empty] | 87 | 1740 |  |  | 1740
7 |  | Ferulles back 3/185sqmm | No | 50 | [6 empty] | 142 | 7100 |  |  | 7100
Cable box and accessorise
1 |  | 11kv Heatshing cable End jointing kit for 3X185sqmm XLPE cable indoor type | No | 120 | [8 empty] | 1 | 120 | 120
2 |  | Heat shrin cable 120sqmm power cable XLPE 11kv out door type | No | 25 | [8 empty] | 11 | 275 | 275
Porciline Items
1 |  | Pin w type for insulator | No | 2 | 180 | 360 | [8 empty] | 360
Meter and relay switch
1 |  | Meter off size | No | 250 | [6 empty] | 3 | 750 |  |  | 750
2 |  | Maximum circuit breaker | No | 200 | [6 empty] | 2 | 400 |  |  | 400
3 |  | Switch circiut breaker | No | 5000 | [6 empty] | 2 | 10000 |  |  | 10000
4 |  | Underfrequency Relay | No | 10000 | [6 empty] | 1 | 10000 |  |  | 10000
5 | MM0M004009 | Rellay CDG 31AC type | No | 16000 | [6 empty] | 2 | 32000 |  |  | 32000
6 | MM0M006002 | Relay CDG-31 | No | 10000 | [6 empty] | 1 | 10000 |  |  | 10000
7 |  | RTLX for RPM171305 Relay | No | 1000 | [6 empty] | 4 | 4000 |  |  | 4000
8 |  | MVAR Meter | No | 10000 | [6 empty] | 1 | 10000 |  |  | 10000
Lugs
1 | CC3C314005 | Copper lug 200A | No | 10 | 44 | 440 | [8 empty] | 440
2 | CC3C314004 | Copper lug 300A | No | 70 | 106 | 7420 | [8 empty] | 7420
3 | CC3C314002 | Copper lug 800A | No | 80 | 44 | 3520 | [8 empty] | 3520
4 |  | Earhting lug | No | 10 | 12 | 120 | [8 empty] | 120
File
1 | PP1P107011 | Flate file 25mm | No | 20 | 10 | 200 | [8 empty] | 200
2 | PP1P107009 | Flate half round file | No | 25 | 31 | 775 | [8 empty] | 775
3 |  | File assorated | No | 15 | 2 | 30 | [8 empty] | 30
Drill bit
1 |  | Drill bit 7/32mm | No | 25 | [8 empty] | 2 | 50 | 50
2 | PP1P146003 | Drill bit 15/16mm | No | 40 | [8 empty] | 2 | 80 | 80
3 | PP1P146005 | Drill bit 11/16mm | No | 40 | [8 empty] | 3 | 120 | 120
4 | PP1P146008 | Drill bit o/s | No | 20 | [8 empty] | 4 | 80 | 80
5 |  | Drill bit 9/16mm | No | 30 | [8 empty] | 4 | 120 | 120
6 | PP1P146007 | Drill bit 5/16mm | No | 25 | [8 empty] | 4 | 100 | 100
Transformer oil & drums
1 |  | Empty T/F oil drum | No | 200 | 170 | 34000 |  | 0 | [6 empty] | 34000
2 |  | Empty T/F oil drum 72Gal cap | No | 250 |  | 0 | 3 | 750 | [6 empty] | 750
Rops & Wires
1 |  | GI wire 8no | kg | 40 |  |  |  |  | 321 | 12840 |  |  |  |  | 12840
2 |  | GI wire 6no | kg | 30 |  |  |  |  | 659 | 19770 |  |  |  |  | 19770
3 |  | GI wire | kg | 30 |  |  |  |  | 131 | 3930 |  |  |  |  | 3930
Earth wire accessorise
1 |  | Counter poise earth set 7/10SWG earth wire with terminal leaf nut bolt | Set | 50 | 6 | 300 | [8 empty] | 300
2 |  | Counter poise earthing o/u dismantled | No | 50 | 21 | 1050 | [8 empty] | 1050
3 |  | Vibration damper E/W 7/9SWG o/u dismantled | No | 11 | 63 | 693 | [8 empty] | 693
4 | II5I504009 | Suspension fitting 7/9 E/W | No | 650 | 7 | 4550 | [8 empty] | 4550
5 | II5I504010 | Suspension fitting 7/10 E/W | No | 550 | 3 | 1650 | [8 empty] | 1650
Conductor
1 | AA0A002001 | ACSR Moose conductor | Mtr | 120 | 712 | 85440 | [8 empty] | 85440
2 |  | ACSR Mosse conductor in small cut bits | Mtr | 90 | [8 empty] | 328 | 29520 | 29520
3 |  | ACSR Dog conductor o/u dismantled | Kg | 50 | [8 empty] | 245 | 12250 | 12250
4 |  | ACSR SP. Panther conductor | Mtr | 40 | [8 empty] | 75 | 3000 | 3000
5 |  | SP. Conductor size 12/9 wire o/u dismantled | Mtr | 45 | [8 empty] | 480 | 21600 | 21600
Cable
1 |  | L.T Cable 3.5coreX400sqmm | Mtr | 700 | 98 | 68600 | [8 empty] | 68600
2 | CC0C001001 | Armound pvc control cable37X2.5sqmm | Mtr | 50 |  |  |  |  | 1367 | 68350 |  |  |  |  | 68350
3 | CC0C001005 | Armound cable 14X2.5sqmm cut lenth | Mtr | 75 | 171 | 12825 | [8 empty] | 12825
4 | CC0C004008 | PVC control cable Alluminum 6X10sqmm | Mtr | 30 | 339 | 10170 | [8 empty] | 10170
5 |  | cable insulated 11kv 1.5sqmm | Mtr | 25 |  |  |  |  | 58 | 1450 |  |  |  |  | 1450
6 |  | PVC control cable 3X300sqmm o/u dismantled 11kv Allu. cut bits. | Mtr | 700 |  |  |  |  | 170 | 119000 |  |  |  |  | 119000
7 |  | PVC control cable 3x400sqmm o/u dismantled 11kv Allu.cut bits | Mtr | 800 |  |  |  |  | 180 | 144000 |  |  |  |  | 144000
Misc store
1 |  | Rod GM 7"x3/4" | No | 10 | 20 | 200 | [8 empty] | 200
2 |  | Gangwall Alarm | No | 50 | [6 empty] | 1 | 50 |  |  | 50
3 |  | Brife case o/u | No | 5 | [6 empty] | 1 | 5 |  |  | 5
4 |  | Dionometer o/s | No | 75 | [6 empty] | 3 | 225 |  |  | 225
5 |  | Moter pump set Repairble | No | 1500 | [6 empty] | 1 | 1500 |  |  | 1500
6 |  | Pump electric 3phase o/u | No | 500 | [6 empty] | 1 | 500 |  |  | 500
7 |  | DC Moter 110v kirlosher makke | No | 500 | [6 empty] | 1 | 500 |  |  | 500
8 |  | AC Moter 3phase 400v | No | 750 | [6 empty] | 3 | 2250 |  |  | 2250
9 |  | Earth brass chain | No | 50 | [6 empty] | 5 | 250 |  |  | 250
10 |  | Trunbuchle huch type heavy duty | No | 300 | 6 | 1800 | [8 empty] | 1800
11 |  | Trunbuchle steeldully not dip Gal.20mm 70KN load | No | 200 | 8 | 1600 | [8 empty] | 1600
12 | PP0P010003 | Trunbuchale | No | 75 | 5 | 375 | [8 empty] | 375
13 |  | Steel Rack | No | 1000 | 1 | 1000 | [8 empty] | 1000
14 | PP4P401001 | Steel Almira Godrej make | No | 5000 | 1 | 5000 | [8 empty] | 5000
15 | PP0P021016 | Pully block single sleave | No | 50 | 1 | 50 | [8 empty] | 50
16 | PP0P021014 | Pully block three sleave | No | 75 | 1 | 75 | [8 empty] | 75
17 | PP0P021013 | Pully block four sleave | No | 100 | 3 | 300 | [8 empty] | 300
18 | PP1P114027 | D. sppaner | No | 30 | 1 | 30 | [8 empty] | 30
19 |  | Snatch pully block | No | 100 |  |  | 28 | 2800 | [6 empty] | 2800
20 |  | Pully lefting machine heavy pulling 3ton cap 5ton lefting | No | 700 | [8 empty] | 1 | 700 | 700
Misc -Store obsolete
1 |  | Iron Base of LA | No | 75 | [6 empty] | 3 | 225 |  |  | 225
2 |  | Ring for LA 132kv o/u | No | 100 | [6 empty] | 6 | 600 |  |  | 600
3 |  | Hydrolic jack 50Ton cap o/u Repairble | No | 120 | [6 empty] | 4 | 480 |  |  | 480
Fitting 400kv and accessories
1 |  | Fitting double suspension for moose conductor 400kv | No | 500 |  |  |  |  | 16 | 8000 |  |  |  |  | 8000
2 |  | Do- w/o crona ring | No | 450 |  |  |  |  | 9 | 4050 |  |  |  |  | 4050
3 |  | Do- w/o 1No carona ring | No | 450 |  |  |  |  | 1 | 450 |  |  |  |  | 450
4 |  | Fitting double tension for moose conductor 400kv line | No | 6000 |  |  |  |  | 2 | 12000 |  |  |  |  | 12000
5 |  | Fitting double tension for moose conductor w/o Dead end& allu. Portion 400kv line inc. | No | 4000 |  |  |  |  | 13 | 52000 |  |  |  |  | 52000
6 |  | Fitting tension for moose conductor w/o steel&Allu portion | No | 4000 |  |  |  |  | 1 | 4000 |  |  |  |  | 4000
7 |  | Dead End Allu portion only ACSR moose conductor | No | 100 |  |  |  |  | 1 | 100 |  |  |  |  | 100
8 |  | Dean End steel portion for moose conductor | No | 100 |  |  |  |  | 8 | 800 |  |  |  |  | 800
9 |  | Cusioned spacer bundle spacer for 400kv line w/o retaring rod | No | 100 |  |  |  |  | 128 | 12800 |  |  |  |  | 12800
10 |  | Cussioned spacer bundle spacer with Retaring Rod | No | 200 |  |  |  |  | 35 | 7000 |  |  |  |  | 7000
11 |  | Jamper spacer for moose 400kv line | No | 100 |  |  |  |  | 30 | 3000 |  |  |  |  | 3000
12 |  | Retaring Rod o/u 400kv line | No | 200 |  |  |  |  | 29 | 5800 |  |  |  |  | 5800
13 |  | Carona Ring for suspension type | No | 500 |  |  |  |  | 10 | 5000 |  |  |  |  | 5000
14 | II4I403002 | Carona Ring for 400kv line double suspension fitting | No | 1000 |  |  |  |  | 6 | 6000 |  |  |  |  | 6000
15 | II3I302001 | Repair sleave for moose conductor | No | 100 |  |  |  |  | 119 | 11900 |  |  |  |  | 11900
16 | II3I303001 | Vibration damper | No | 200 |  |  |  |  | 560 | 112000 |  |  |  |  | 112000
17 |  | Armound Rod for moose conductor | Set | 100 |  |  |  |  | 5 | 500 |  |  |  |  | 500
18 |  | Arival Roller for 400kv line cycle | No | 500 |  |  |  |  | 2 | 1000 |  |  |  |  | 1000
19 |  | Bridge with coupling lader | No | 500 |  |  |  |  | 3 | 1500 |  |  |  |  | 1500
20 |  | Drum coupling Divice with jack for moose conductor | No | 10000 |  |  |  |  | 3 | 30000 |  |  |  |  | 30000
21 |  | Jack for lefting conductor drum | No | 1000 |  |  |  |  | 2 | 2000 |  |  |  |  | 2000
22 |  | Arival Roller twin for 400kv line | No | 750 |  |  |  |  | 9 | 6750 |  |  |  |  | 6750
23 |  | Joint mid spair for moose w/o steel portion 400kv line | No | 100 |  |  |  |  | 21 | 2100 |  |  |  |  | 2100
24 |  | Carona Ring for single suspension fitting for ACSR conductor repairble. | No | 200 |  |  |  |  | 18 | 3600 |  |  |  |  | 3600
Fitting 220/132kv and accessories
1 |  | Fitting single suspension 220kv 13unit for ACSR Dear | Set | 500 |  |  |  |  | 20 | 10000 |  |  |  |  | 10000
2 |  | Fitting single suspension for ACSR Zebra conductor incomplete. | No | 700 |  |  |  |  | 15 | 10500 |  |  |  |  | 10500
3 | II5I501004 | Fitting tension for ACSR Zebra conductor | No | 800 |  |  |  |  | 3 | 2400 |  |  |  |  | 2400
4 |  | Fitting double suspension 220kv 15unit.. | Set | 1000 |  |  |  |  | 20 | 20000 |  |  |  |  | 20000
5 |  | Fitting single tension 220kv 16unit w/o dead end Allu. | No | 1000 |  |  |  |  | 6 | 6000 |  |  |  |  | 6000
6 |  | Fitting double tension 220kv 16unit 120sqmm sp.cond. | Set | 1500 |  |  |  |  | 27 | 40500 |  |  |  |  | 40500
7 |  | Fitting double suspension 9unit for 120sqmm sp.cond. | Set | 800 |  |  |  |  | 124 | 99200 |  |  |  |  | 99200
8 |  | Fitting double suspension 132kv 52sqmm sp. Conductor | Set | 800 |  |  |  |  | 103 | 82400 |  |  |  |  | 82400
9 |  | Fitting suspension 132kv 8unit for sp.conductor panther | Set | 300 |  |  |  |  | 140 | 42000 |  |  |  |  | 42000
10 |  | Fitting double tension 132kv 10unit 120sqmm sp. Cond. | No | 1500 |  |  |  |  | 153 | 229500 |  |  |  |  | 229500
11 |  | Fitting double 132kv 10unit 52sqmm sp. Conductor | No | 1200 |  |  |  |  | 115 | 138000 |  |  |  |  | 138000
12 | II5I505005 | Fitting double suspension panther | No | 1500 |  |  |  |  | 21 | 31500 |  |  |  |  | 31500
13 |  | Joint mid spair for dear w/o steel portion | No | 400 |  |  |  |  | 1 | 400 |  |  |  |  | 400
14 |  | Joint mid spair for ACSR zebra conductor allu. | No | 100 |  |  |  |  | 42 | 4200 |  |  |  |  | 4200
15 |  | Joint mid spair for panther conductor w/o steel portion | No | 100 |  |  |  |  | 41 | 4100 |  |  |  |  | 4100
16 | II3I302002 | Repar sleave for dear | No | 100 |  |  |  |  | 9 | 900 |  |  |  |  | 900
17 | II3I302003 | Repair sleave for zebra conductor | No | 100 |  |  |  |  | 33 | 3300 |  |  |  |  | 3300
18 |  | Repair sleave o/s | No | 50 |  |  |  |  | 12 | 600 |  |  |  |  | 600
19 |  | sleave for dog/Raccom conductor | No | 100 |  |  |  |  | 24 | 2400 |  |  |  |  | 2400
20 | II3I303003 | Vibration damper for ACSR Zebra conductor | No | 201 |  |  |  |  | 188 | 37788 |  |  |  |  | 37788
21 |  | Vibration damper | No | 52 |  |  |  |  | 79 | 4108 |  |  |  |  | 4108
22 |  | Vibration damper for 66kv line o/u dismanrled | No | 51 |  |  |  |  | 76 | 3876 |  |  |  |  | 3876
23 | II3I305002 | Armound Rod for dear conductor | No | 50 |  |  |  |  | 6 | 300 |  |  |  |  | 300
24 |  | Socket claves | No | 98 |  |  |  |  | 53 | 5194 |  |  |  |  | 5194
25 |  | Danger plate 132kv line | No | 100 |  |  |  |  | 166 | 16600 |  |  |  |  | 16600
26 |  | Anti clamping device for 132kv line | Set | 102 |  |  |  |  | 1 | 102 |  |  |  |  | 102
27 |  | Hunger fullthread with nut one side bolted | No | 222 |  |  |  |  | 23 | 5106 |  |  |  |  | 5106
28 | PP0P006001 | Die set for ACSR Moose Allu. | No | 800 |  |  |  |  | 1 | 800 |  |  |  |  | 800
29 | PP0P006002 | Die set for ACSR Moose steel | No | 700 |  |  |  |  | 1 | 700 |  |  |  |  | 700
30 | PP0P006005 | Die set ACSR Zebra Allu. | No | 800 |  |  |  |  | 1 | 800 |  |  |  |  | 800
31 | PP0P006006 | Die set ACSR Zebra steel | No | 700 |  |  |  |  | 1 | 700 |  |  |  |  | 700
32 | PP0P006011 | Die set earth wire 7/10SWG | No | 600 |  |  |  |  | 1 | 600 |  |  |  |  | 600
33 | PP0P006012 | Die set earth wire 7/9SWG | No | 600 |  |  |  |  | 1 | 600 |  |  |  |  | 600
34 | PPOP001013 | Come along clamp E/W 7/10SWG | No | 500 |  |  |  |  | 2 | 1000 |  |  |  |  | 1000
35 | PP0P006013 | Jointing die for Raccom conductor | No | 25 |  |  |  |  | 1 | 25 |  |  |  |  | 25
36 |  | Dead End body4101 | No | 95 |  |  |  |  | 12 | 1140 |  |  |  |  | 1140
37 |  | Dead end joint | No | 65 |  |  |  |  | 4 | 260 |  |  |  |  | 260
38 |  | Roller Alluminum | No | 55 |  |  |  |  | 3 | 165 |  |  |  |  | 165
39 | PP0P002003 | Roller ground for panther | No | 500 |  |  |  |  | 30 | 15000 |  |  |  |  | 15000
40 | PP1P138011 | Jack for template | No | 100 |  |  |  |  | 10 | 1000 |  |  |  |  | 1000
41 |  | Hunger for 132kv line | No | 25 |  |  |  |  | 2 | 50 |  |  |  |  | 50
42 |  | Arking Horn for 132kv line | No | 15 |  |  |  |  | 11 | 165 |  |  |  |  | 165
Damaged & Unserviceable Items
1 |  | Fixed contact 132kv EMC make isolator u/s | No | 50 | [8 empty] | 1 | 50 | 50
2 |  | 33kv ct o/u dis obsolete unserviceable | No | 1000 | [8 empty] | 3 | 3000 | 3000
3 |  | 33kv CT brunt /damaged | No | 1000 | [8 empty] | 1 | 1000 | 1000
4 |  | 33kkv cb damaged scrap incomplete | No | 1000 | [8 empty] | 1 | 1000 | 1000
5 |  | 132KV Circuit breaker damaged,incomplete scrap | No | 20000 | [8 empty] | 1 | 20000 | 20000
Scrap
1 |  | Tower part o/ u dismantled Scrap. | MT | 20000 | [8 empty] | 0.175 | 3500 | 3500
2 |  | Earth wire scrap | Kg | 20 | [8 empty] | 225 | 4500 | 4500
3 |  | M.S Tower part scrap | Kg | 20 | [8 empty] | 7768 | 155360 | 155360
4 |  | HTLS Conductor Scrap | Kg | 35 | [8 empty] | 951 | 33285 | 33285
5 |  | Dog conductor scrap | Kg | 35 | [8 empty] | 2302 | 80570 | 80570
6 |  | Zebra conductor scrap | Kg | 35 | [8 empty] | 296 | 10360 | 10360
7 |  | Panther conductor scrap | Kg | 35 | [8 empty] | 331.6 | 11606 | 11606
Total(in Rs) | [5 empty] | 2591667.3 |  | 3550 |  | 1485669 |  | 1943456.11 |  | 394956 | 6419298.41
Grand Total(in Rs) |  |  |  |  | 6419298.41
INVENTORY
Name of Zone |  |  | Garhwal
Name of Circle |  |  | Roorkee
Name of Division |  |  | 220 KV O&M Division Roorkee
Name of Substation |  |  | 220 KV S/S Roorkee
Month of |  |  | 2025-05-01
S.No. | Item Code | Name of Item | Unit | Unit Rate (Rs) | Useable |  | Serviceble |  | Non-Moving |  | Obsolete |  | Screp |  | Remark
[5 empty] | Qty | Total Amount in Rs. | Qty | Total Amount in Rs. | Qty | Total Amount in Rs. | Qty | Total Amount in Rs. | Qty | Total Amount in Rs.
1 |  | 132 kv BHEL make 3 pole circuit Breaker without structure (old & used) obsolete. | Nos | 2500 | [8 empty] | 2 | 5000 | recommended to survey
2 |  | Clamp & Connector Scrap.(Aluminium Alloy) | Kg | 50 | [8 empty] | 92 | 4600
3 |  | 33 KV CT Damage | Nos | 500 | [8 empty] | 1 | 500
4 |  | 132 KV CT Damage | Nos | 1500 | [8 empty] | 1 | 1500
5 |  | Motor T/F cooling Fan Damage | Nos | 500 | [8 empty] | 3 | 1500
6 |  | ACSR Moose conductor scrap | Kg | 50 | [8 empty] | 22 | 1100
7 |  | 8 Window Annunciat Difective unuseble | Nos | 15 | [8 empty] | 8 | 120
8 |  | 220 KV CVT Damage | Nos | 2000 | [8 empty] | 1 | 2000
9 |  | 33 KV NCVT Damage | Nos | 800 | [8 empty] | 1 | 800
10 |  | 220 kv BHEL make 3 pole circuit Breaker without structure (old & used) obsolete. | Nos | 5000 | [8 empty] | 3 | 15000 | recommended to survey
11 |  | T/F oil drum empty | Nos | 200 | [8 empty] | 8 | 1600
12 |  | 132 KV central break isolator,O/U Dismentied. | Nos | 10000 | [6 empty] | 1 | 10000
13 |  | Wave trap without PLCC coupling. Oid & used | Nos | 5000 | [6 empty] | 2 | 10000
14 |  | 220 KV CVT 1ph.desmantle,obsolete. | Nos | 2000 | [6 empty] | 8 | 16000
15 |  | 220 KV LA 1ph.desmantle,obsolete. | Nos | 100 | [6 empty] | 7 | 700
16 |  | 132 KV CT 1ph.desmantle,obsolete. | Nos | 1000 | [6 empty] | 6 | 6000
17 |  | 220 KV circuit breaker 2ph.desmantle,obsolete. | Nos | 2500 | [6 empty] | 1 | 2500
18 |  | 220 KV current transformer 1ph.desmantle,obsolete. | Nos | 2000 | [6 empty] | 20 | 40000
19 |  | Energy meter secure old & used | Nos | 1000 | [6 empty] | 8 | 8000
20 |  | Energy meter L&T old & used | Nos | 1000 | [6 empty] | 5 | 5000
21 |  | structure(220 KV BHEL Make Circuit breaker) old & used incomplete. | Nos | 1000 |  |  | 7 | 7000
22 |  | 220 KV central break isolator,O/U Dismentied. | Nos | 12000 |  |  | 3 | 36000
23 | VV3V302006 | 220 kv CT,600/1 amp.STC MakeSl.no.-2015/2102 | Nos | 485212.5 |  |  |  |  | 1 | 485212.5
24 | II3I302003 | Repair sleave for ACSR zebra conductor | Nos | 1225.76 | 10 | 12257.6
25 | II3I301003 | Joint mid span for ACSR zebra conductor. | Nos | 794.5 | 7 | 5561.5
26 | II3I301008 | joint mid spam 7/9 E/W | Nos | 113.5 | 4 | 454
27 | II3I302002 | Repair sleeve for Dear conductor | Nos | 1702.56 | 5 | 8512.8
28 | II3I301002 | Mid Span Joint Dear conductor | Nos | 3442.5 | 2 | 6885
29 | II5I502004 | Double tension compressor type single zebra conductor fitting. | Nos | 15379 | 2 | 30758
30 |  | Yoke Plate size 360x110x14 mm | Nos | 1370 | 2 | 2740
31 | CC3C311002 | Raychem make 33 kv outdoor termination kit 3x300 sq.mm | Nos | 19558.5 | 1 | 19558.5
32 | VV3V305003 | 33 kv CT 1000/1 amp. 3core ac.0.2 | Nos | 33804.5 | 4 | 135218
33 | AA0A002003 | ACSR zebra conductor. | KM | 231480 | 0.5 | 115740
34 | CC3C320001 | Cable termination block | Nos | 120 | 70 | 8400
35 | MM0M007003 | Buccholz Relay GOR-3 | Nos | 38940 | 2 | 77880
36 |  | GI Structure for 132 kv Gantry beem with N&B incumplete. | MT | 89707 | 0.86 | 77148.02
37 |  | GI Structure for 132 kv Gantry column with N&B incumplete. | MT | 89707 | 1.64 | 147119.48
38 |  | 220 KV DD+0 Tower wightout stub. | MT | 112100 | 8.738 | 979529.8
39 |  | ACSR Zebra conductor cutbit o/u. | Mtr | 60 | 570 | 34200
40 | II0I001001 | Disc insulator 160 Kn | Nos | 1654.226 | 327 | 540931.902
41 | NN4N412009 | Cotrol panal protection tranfer switch.RBC 250P12246ZW 95/L,25A/660V AC Recom make | Nos | 20237 | 1 | 20237
42 |  | GI Tower Parts (Templates Old and Used) | MT | 50000 | 3.4 | 170000
43 | II0I001003 | Disc insulator 120 KN | No. | 1121 | 18 | 20178
44 | II5I501003 | ACSR Deer conductor tension Fitting with jumper cone. | Nos | 8496 | 4 | 33984
45 | VV3V302001 | 220 KV Current transformer 1ph. | Nos | 365389.5 |  |  |  |  | 2 | 730779
46 | SS0S002002 | 220 KV Isolator 3ph. | Nos | 370968.79 |  |  |  |  | 21 | 7790344.59
47 | SS0S003002 | 132KV Isolator 3ph. | Nos | 202698.48 |  |  |  |  | 4 | 810793.92
48 |  | Single Tension Zebra fitting with jumper cone. | Nos | 14750 | 26 | 383500
49 |  | 33 KV Isolator Jaw made of three No. copper step. | Nos | 5310 | 12 | 63720
50 |  | 33 KV Isolator blade (40 MM O/D and length 1050 mm) | Nos | 4956 | 2 | 9912
51 |  | 33 KV Isolator post insulator. | Nos | 1416 | 10 | 14160
52 |  | Silica gel blue crystal | Kg | 585.28 | 50 | 29264
53 |  | Molecular sives filter capacity 55 kg | Nos | 105680.8 | 8 | 845446.4
54 |  | Max. Min. Register 200 Page | Nos | 510 | 4 | 2040
55 |  | Supply position Register 200 Page | Nos | 520 | 4 | 2080
56 |  | Battery Register 200 Page | Nos | 510 | 4 | 2040
57 |  | Control cable 2x2.5 Sq.mm | KM | 139240 | 2 | 278480
58 |  | Control cable 4x2.5 Sq.mm | KM | 224200 | 2 | 448400
59 |  | Control cable 6x2.5 Sq.mm | KM | 316240 | 1.75 | 553420
60 |  | Control cable 10x2.5 Sq.mm | KM | 483800 | 1 | 483800
61 |  | 33 KV CT Rod with Nut & Bolt | Nos | 4082.8 | 8 | 32662.4
62 |  | 33 KV CT Terminal brass sleev | Nos | 4277.5 | 8 | 34220
63 |  | 33 KV CT clamp suitable for Zebra conductor | Nos | 1681.5 | 14 | 23541
TOTAL Items |  |  |  |  | 1200.888 |  | 10 |  | 28 |  | 58 |  | 142 |  | 1438.888
Grand TOTAL(in Rs.) | [5 empty] | 5653979.402 |  | 43000 |  | 9817130.01 |  | 98200 |  | 33720 | 15646029.412
Inventory Month of May-2025
Name of Zone: Garhwal Zone
Name of Circle: O&M,Circle Roorkee
Name of Division: 220kV O&M,Division,Roorkee
Name of Substation: 132kV Substation,Roorkee
S.No | Item Code | Name of Item | Unit | Unit Rate in Rs | Useable |  | None Moving |  | Unserviceable |  | Obsolete |  | Scrap |  | Remark | Survey done
[5 empty] | Qty. | Total Amount In Rs | Qty. | Total Amount In Rs | Qty. | Total Amount In Rs | Qty. | Total Amount In Rs | Qty. | Total Amount In Rs
1 |  | C&R pannel O/U dismentled,obsolete,unserviceable,incomplete | Nos | 500 | [8 empty] | 3 | 1500 |  | recommended to survey
2 |  | 33kV CT Burnt & Damage | Nos | 750 | [8 empty] | 1 | 750
3 | FF3F301002 | SP-55 pole O/U dismantled rusted scrap | Nos | 2000 | [8 empty] | 14 | 28000
4 |  | 132kV LA damage | Nos | 200 | [8 empty] | 2 | 400
5 |  | L&T Energy meter o/u dismantled | Nos | 1000 | [8 empty] | 8 | 8000
6 |  | ABT Energy meter secure make o/u dismantled | Nos | 1000 | [8 empty] | 2 | 2000
7 |  | 132 KV CVT Damage | No | 2000 | [8 empty] | 1 | 2000
8 |  | Energy meter O/U | No | 500 | [8 empty] | 6 | 3000
9 |  | Alapha meter A2 3- phase 4 wire CT/PT aperated micro process box electric trivector (O/U) | No | 1000 | [8 empty] | 1 | 1000
10 |  | Contact coil for 132 KV G.E.C Make OCB in scrap | No | 50 | [8 empty] | 1 | 50
11 |  | Contact coil for SMC Make OCB 132 KV in scrap | No | 50 | [8 empty] | 1 | 50
12 |  | Aluminium Scrap | kg | 100 | [8 empty] | 17.5 | 1750
13 | JJ7J707004 | Empty gas cylinder of 9.0 kg cap. | Nos | 300 | [8 empty] | 1 | 300
14 |  | 33kV PT defective (single phase) | Nos | 1000 | [8 empty] | 1 | 1000
15 |  | 132kV isolator O/U dismentled,without PI,incomplete,unserviceable | Nos | 10000 | [8 empty] | 2 | 20000
16 |  | 33 KV Control panel of Cap Bank,o/U,dismentled incomplete | Nos | 1000 | [8 empty] | 1 | 1000
17 |  | RTCC Panel O/U Dismentled,Unserviciable incomplete | Nos | 5000 | [8 empty] | 2 | 10000
18 |  | 132kV CT,200/1,O/U,Dismentled | Nos | 20000 | [8 empty] | 1 | 20000
19 | VV6V507005 | 66kV CVT o/u dismantled | Nos. | 5000 | [8 empty] | 2 | 10000
20 |  | 33 KV CT Ratio 800/400/1 AMP (O/U, Defective , Repairable) | Nos | 2000 | [8 empty] | 1 | 2000
21 |  | 132kV CT,200/1,Dismentled Obsolete unserviceable | Nos | 10000 | [8 empty] | 2 | 20000
22 |  | Explusion type fuse link of 20 amp of 33 KV CAP Bank (O/U) obsulate in scrap | kg | 200 | [8 empty] | 2.5 | 500
23 |  | Amp Meter Selector switch for 11 KV Bimco make OCB | No | 500 | [8 empty] | 4 | 2000
24 |  | 132KV CVT O/U Dismentled, 0.2 Class Accuracy | Nos | 25000 | [8 empty] | 1 | 25000
25 |  | MS Alloy | Kg | 20 | [8 empty] | 650 | 13000
26 |  | 33 KV PT (I/D) Type | Nos | 27564 |  |  | 3 | 82692
27 | JJ5J503038 | 36 KV Vaccum Interrupter for BHEL make as per Specifi. | Nos | 45742.75 |  |  | 1 | 45742.75
28 |  | P N structure (O/U) NCT Make. | Nos | 1000 | 1 | 1000
29 |  | Empty oil drum | Nos | 200 | 10 | 2000
30 |  | Empty Transformer Oil drum 209Ltr capacity | Nos | 500 | 6 | 3000
31 | MM0M008004 | Under Voltage JVS/ Ashida Relay | Nos | 21000 | 1 | 21000
32 | II3I302004 | Repair sleeve for panther conductor with 2 parts for Al Alloy | Nos | 851.25 | 3 | 2553.75
33 |  | Run through Clamp for Tandom Isolater | Nos | 621 | 3 | 1863
34 |  | H.T C mater yoke plate of size 360x110x14 mm with 5 Nos holes. As per spec. | Nos | 1327.95 | 6 | 7967.7
35 | II1I110001 | T-Connector Panther to Panther | Nos | 1007.68 | 27 | 27207.36
36 |  | G.I Earth wire Fitting for 7/9 SWG | Nos | 1700.23 | 14 | 23803.22
37 |  | Extension link For E/W Clamp | Nos | 340.5 | 15 | 5107.5
38 | SS0S003003 | 132 KV Line Isolater | Nos | 266350.66 | 1 | 266350.66
39 | VV6V507004 | 132 KV CVT | Nos | 257637 | 3 | 772911
40 | VV3V304002 | 66kV CT 200/100/1Amp 3 Core | Nos | 64428 | 3 | 193284
41 | VV3V305011 | 36kV.1ph.Dead Tank CT 400/200/1 | Nos | 27400 | 1 | 27400
42 | FF1F107001 | Anchor bolt size 30X600mm | Nos | 250 | 2 | 500
43 |  | Digital Ampere meter accuracy class 0.5 | Nos | 8236.4 | 1 | 8236.4
44 |  | Digital VOLT meter,110VDC,class 0.5 | Nos | 6832.2 | 1 | 6832.2
45 |  | Digital MW meter accuracy class 0.6 | Nos | 15316.4 | 4 | 61265.6
46 |  | HRC Fuse 4 Amp | Nos | 177 | 2 | 354
47 |  | HRC Fuse 6 Amp | Nos | 177 | 2 | 354
48 |  | ACSR Panther Conductor | Mtr | 115.535 | 820 | 94738.7
49 |  | 110 Volt,Tripping/closing coil for 33 KV circuit breaker ABB Make | Nos | 3621.42 | 2 | 7242.84
50 |  | TNC switch for 33 KV, ABB make circuit breaker. | Nos | 3796.65 | 2 | 7593.3
51 |  | TNC switch for 33 KV,CGL make circuit breaker. | Nos | 3621.42 | 2 | 7242.84
52 |  | Local/Remote switch for 33 KV circuit breaker ABB Make | Nos | 4322.34 | 2 | 8644.68
53 |  | Local/Remote switch for 33 KV circuit breaker CGL Make | Nos | 4088.7 | 3 | 12266.1
54 |  | 120 KV Surge Arrestor( in two parts) | Nos | 100398.33 | 3 | 301194.99
55 |  | 30 KV surge arrestor | Nos | 24288.33 | 8 | 194306.64
56 |  | 33 KV Isolator pad clamp switable for single panther. | Nos | 1357 | 6 | 8142
57 |  | 33 KV CT clamp switable for single panther. | Nos | 1239 | 5 | 6195
58 |  | 33 KV CB clamp switable for double panther. | Nos | 2454.4 | 4 | 9817.6
59 |  | 33 KV CT clamp switable for double panther. | Nos | 2454.4 | 2 | 4908.8
60 |  | 33 KV CT clamp switable for single Moose. | Nos | 1817.2 | 4 | 7268.8
61 |  | 33 KV Isolator pad clamp switable for single moose. | Nos | 1935.2 | 4 | 7740.8
62 |  | 33 KV CT clamp switable for double Moose. | Nos | 3304 | 2 | 6608
63 |  | 33 KV Isolator pad clamp switable for double moose. | Nos | 3481 | 4 | 13924
64 |  | Silica gel blue cryatal | Kg | 585.28 | 30 | 17558.4
65 |  | Molecular sives filter capacity 55 kg | Nos | 105680.8 | 4 | 422723.2
66 |  | Control cable 2x2.5 Sq.mm | Km | 139240 | 2.064 | 287391.36
67 |  | Control cable 4x2.5 Sq.mm | Km | 224200 | 2.032 | 455574.4
68 |  | Control cable 6x2.5 Sq.mm | Km | 316240 | 1.845 | 583462.8
69 |  | Control cable 10x2.5 Sq.mm | Km | 483800 | 0.503 | 243351.4
70 |  | 33 KV CT 800/400/1 Old and used | No | 1000 | 5 | 5000
|  | Cannon printer 1440 monochrome black MFP | No | 39900 | 1 | 39900
|  | 66 KV Control Room daily log sheet 32 Pages | No | 1222.5 | 12 | 14670
|  | 132 KV Control Room daily log sheet 32 Pages | No | 1222.5 | 12 | 14670
|  | Closing coil 110 Volt ABB Make | No | 14632 | 1 | 14632
|  | 4 pole MCCB 125-150 Amp. | No | 14986 | 1 | 14986
|  | Total=Item |  |  | 1051.444 |  | 4 |  | 0 |  | 0 |  | 728 |  |  | 1783.444
|  | Total=Amount |  |  |  | 4244745.04 |  | 128434.75 |  | 0 |  | 0 |  | 173300 |  | 4546479.79
INVETORY
Name of Zone |  | Garhwal
Name of Circle |  | Roorkee
Name of Division |  | 220 KV O&M Roorkee
Name of Substation |  | 132 kv s/s Manglore
| Month | 2025-05-01
[5 empty] | Useable |  | Unserviceable |  | Non-moving |  | Obsolete |  | Scrap |  | SURVEY YEAR | . SURVEY YEAR 2021-22 | PERPOSED. . SURVEY YEAR 2023-24
S.NO. | Item code | Name of Item | Unit | Unit Rate in Rs | Oty | Total Amount in Rs. | Oty | Total Amount in Rs. | Oty | Total Amount in Rs. | Oty | Total Amount in Rs. | Oty | Total Amount in Rs.
1 | TT1T101029 | Log Sheet Manglore | Nos. | 1469.1 | 2 | 2938.2
2 |  | T/F clamp Arava make for Zebra | Nos. | 2800 | 0 | 0
3 |  | Bolted type tension fitting for panther | Nos. | 1200 | 3 | 3600
4 | II5I501010 | Earth wire tension fitting | Nos. | 600 | 7 | 4200
5 | II3I302004 | Repair sleev for Panther conductor | Nos. | 600 | 2 | 1200
6 | II3I301004 | Midspan Joint for panther conductor | Nos. | 400 | 2 | 800
7 | II3I301009 | Midspan Joint for earth wire | Nos. | 150 | 6 | 900
8 | MM3M303006 | Digital AC Amp. Meter Range 0-500 A | Nos. | 3973 | 0 | 0
9 |  | Digital Volt Meter Range 0-150 KV | Nos. | 3973 | 0 | 0
10 | MM3M304006 | Digital MW Meter 3 Ph. 4 Wire CTR 800/400/1, PTR 132KV/√3 /110/√3 | Nos. | 8515 | 0 | 0
11 |  | Ring type 200/100-5 Amp, LT CTs | Nos. | 795 | 3 | 2385
12 | VV2V204001 | Transformer oil | Kltrs. | 40000 | 0.275 | 11000 | 0.025
13 | MM3M304009 | Dg.MW Meter 100-0-100 MW ,400/1 O/U Dismantled | Nos. | 1000 | 0 | 0
14 | MM3M305008 | Dg.MVAR Meter 100-0-100 MW ,400/1 O/U Dismantled | Nos. | 1000 | 0 | 0
15 | VV6V505002 | 36/110 Potential Transformer | Nos. | 28540 | 1 | 28540
16 | AA0A002003 | ACSR Zebra Conductor | Mtrs. | 231 | 345 | 79695
17 | AA0A001001 | Tarantula Conductor in Cut Bite O/U | Mtrs. | 140 | 130 | 18200
18 |  | Plastic Seal | Nos. | 16.68 | 86 | 1434.48
19 |  | 145 KV CT old & used dismantle | Nos. | 30000 | 1 | 30000
20 |  | 132 KV CT old & used dismantle | Nos. | 30000 | 3 | 90000
21 | VV5V406006 | CT/PT Junction Box of Epoxy Type Size 410*310*150 mm. | Nos. | 9735 | 0 | 0
22 | MM3M303007 | Digital AC AMP Meter Range 0-400 AC CTR 400/1 Amp 110 V DC Size 96*96 mm | Nos. | 5782 | 0 | 0
23 |  | Digital VOLT Meter Range 0-36 KV PTR-33 KV /√3/110/√3 AC Aux .Supply 110 V DC Size 96*96 mm | Nos. | 5251 | 0 | 0
24 |  | Digital VOLT Meter Range 0-500 Volt DC Size 96*96 mm | Nos. | 5428 | 0 | 0
25 |  | Vibration Damper(Receive form HTLS Project) | Nos. | 3621 | 56 | 202776
26 |  | Repair Sleeve(Receive form HTLS Project) | Nos. | 1917 | 26 | 49842
27 | VV5V407017 | 33 KV Aluminum Alloy CT Clamp for TwinZebra | Nos. | 1956.33 | 1 | 1956.33
28 |  | Latice Structure Galavonized Steel | Kg. | 74.1 | 153.33 | 11361.753
29 | VV6V505002 | 36 kv PT 33 KV/110 V,Out Door Type Single Phase Accuracy Class 0.2 ,3 Core | Nos. | 46964 | 0 | 0
30 |  | O/U Dismantled 33kv CT 400/1 Amp | Nos. | 3000 | 1 | 3000
31 |  | PVC Control Cable 10 Core 2.5 sq.mm O/U Dismantled in Cut Length (Receive Back) | Mtrs. | 40 | 180 | 7200
32 | AA0A002004 | ACSR Panther Conductor | Mtrs. | 115.535 | 281 | 32465.335 | 5
33 | II3I301004 | Compresion Type Mid Span Joint for panther Cond. | Nos. | 1015 | 1 | 1015
34 | CC0C001013 | Control cable 6*2.5 Sq. mm | Km. | 177300 | 0 | 0 | 0.613
35 |  | 33 Kv Aluminium Alloy Isolator Clamp Suitable for Twin Zebra Conductor | Nos. | 1958.67 | 0 | 0
36 |  | PVC Control Cable 6 Core 2.5 sq.mm O/U Dismantled in Cut Length (Receive Back) | Mtrs. | 20 | 0 | 0
37 | AA0A002005 | ACSR Panther Conductor (Receive back from gold Plus Material) | Km. | 115535 | 1.477 | 170645.195
38 | SS6S611008 | HRC FUSE 04 Amp .NS TYPE 415 Volt 80 KA. | Nos. | 82.01 | 0 | 0
39 | SS6S611006 | HRC FUSE 06 Amp .NS TYPE 415 Volt 80 KA. | Nos. | 105.73 | 0 | 0
40 |  | 33kv Aluminium Alloy Isolator Clamp Suitable For Twin Zebra Conductor | Nos. | 1963.52 | 0 | 0
41 | SS5S501015 | 132 kv Aluminium Alloy Isolator Clamp Suitable For ACSR Zebra Conductor | Nos. | 1472.64 | 0 | 0
42 |  | 33 KV CT old & used dismantle 400/200/1 (Recive Back) | Nos. | 5000 | 2 | 10000
43 |  | HPSV CU Ballast 250 W,250 V Bajaj Make. | Nos. | 2950 | 0 | 0
44 |  | HPSV Lamp 250 W,250 V Bajaj Make. | Nos. | 1180 | 0 | 0
45 |  | Condenser 250 V ,10 M,AC | Nos. | 94.4 | 0 | 0
46 |  | Ignitor 250 V,250 W | Nos. | 106.2 | 0 | 0
47 |  | Elctrical/Electronic Contact Spray 400 ml | Nos. | 743.4 | 0 | 0
48 |  | Element for Distil water plant(2000 watt) | Nos. | 1156.4 | 0 | 0
49 |  | 33 KV Aluminium Alloy Isolator Clamp Suitable for Twin Panther Conductor | Nos. | 1296.82 | 0 | 0
50 |  | 33 KV Aluminium Alloy P.G. Clamp 3 Bolted Suitable for ACSR Panther Conductor | Nos. | 796.5 | 1 | 796.5
51 |  | 33 KV Aluminium Alloy CT Conector dia 20 mm Suitable for ACSR Panther Conductor | Nos. | 588.82 | 1 | 588.82
52 |  | 33 KV Aluminium Alloy Isolator Clamp Suitable for ACSR Tarantula Conductor | Nos. | 920.4 | 3 | 2761.2
53 |  | Tripping coil 110 Volt DC &43.8 Ohm for 33 kv BHEL Make VCB. | Nos. | 2920.5 | 0 | 0
54 |  | CT Terminal Connector Suitable for ACSR Zebra Conductor | Nos. | 1121 | 0 | 0
55 |  | 132 kv Aluminium Alloy Isolator Clamp Suitable for ACSR Zebra Conductor | Nos. | 955.8 | 0 | 0
56 |  | T-connector Zebra to Zebra | Nos. | 1327.5 | 0 | 0
57 |  | 132 kv Aluminium AlloyC.B.Clamp Suitable for ACSR Zebra Conductor | Nos. | 955.8 | 0 | 0
58 |  | P.G. Clamp Zebra to Zebra | Nos. | 1233.1 | 0 | 0
59 |  | 40MVA T/F LT Bushing clamp.for Twin Zebra | Nos. | 1858.5 | 0 | 0
60 |  | 33 kv Aluminium Alloy CT Clamp for Twin Zebra | Nos. | 1770 | 0 | 0
61 |  | 33 kv Aluminium Alloy VCB Clamp suitable for Twin Zebra | Nos. | 1404.2 | 0 | 0
62 |  | 33 kv Aluminium Alloy Isolator Clamp Suitablefor Twin Zebra | Nos. | 1404.2 | 4 | 5616.8
63 |  | 33 kvAluminium Alloy Isolator Clamp for Tarantula Conductor | Nos. | 955.8 | 0 | 0
64 |  | T-connector Tarantula to Panther. | Nos. | 1327.5 | 0 | 0
65 |  | P.G.ClampTarantulla to Trantulla conductor. | Nos. | 1233.1 | 0 | 0
66 |  | P.G.Clamp Panther to Panther | Nos. | 749.3 | 0 | 0
67 |  | 33 kv Aluminium Alloy Isolator Clamp Suitablefor Twin Panther conductor. | Nos. | 1315.7 | 0 | 0
68 |  | 33 kv Aluminium Alloy Isolator Clamp Suitablefor Panther conductor. | Nos. | 560.5 | 0 | 0
69 |  | 33 kv Aluminium Alloy VCB Clamp Suitablefor ACSR Panther conductor. | Nos. | 761.1 | 0 | 0
70 |  | 33 KV CT Connector Dia 23 mm Suitable for ACSR Panther conductor of Aluminium Alloy | Nos. | 560.5 | 0 | 0
71 |  | 33 KV CT Connector Dia 20 mm Suitable for ACSR Panther conductor of Aluminium Alloy | Nos. | 560.5 | 0 | 0
72 |  | 33 KV CT Connector Dia 18 mm Suitable for ACSR Panther conductor of Aluminium Alloy | Nos. | 560.5 | 0 | 0
73 |  | 33KV 400/200/1Amp,3 Core Current Transformer | Nos. | 57820 | 3 | 173460
74 |  | 33KV isolator With Out E/S 12Amp | Nos. | 49560 | 1 | 49560
75 |  | Silica gel blue crystal in size 6-8mm | kg. | 395.3 | 9 | 3557.7
76 |  | Anchor Bolt 40 mm Φ | Nos. | 1000 |  |  |  |  | 48 | 48000
77 |  | Bolted type tension fitting Dismantled for Tarantula to Tarantula cond. O/U | Nos. | 2000 |  |  |  |  | 12 | 24000
78 | II1I106001 | T Clamp for Tarantula to Tarantula cond. O/U | Nos. | 300 |  |  |  |  | 4 | 1200
79 |  | T/F Bushing Clamp for Tarantula to Tarantula cond. O/U | Nos. | 500 |  |  |  |  | 3 | 1500
80 |  | CT Clamp for Tarantula to Tarantula cond. O/U | Nos. | 300 |  |  |  |  | 4 | 1200
81 | II2I204001 | CB Clamp for Tarantula to Tarantula cond. O/U | Nos. | 350 |  |  |  |  | 10 | 3500
82 | II0I009001 | PG Clamp Dog.to Dog. | Nos. | 150 | [6 empty] | 7 | 1050
83 | AA0A002007 | ACSR Dog Conductor | Mtrs. | 45 | [6 empty] | 74 | 3330
84 | CC3C308009 | 11kv O/D termination kit 3*70 sq.mm | Nos. | 1200 | [6 empty] | 2 | 2400
85 | CC3C308007 | 11kv O/D termination kit 3*120 sq.mm | Nos. | 1500 | [6 empty] | 1 | 1500
86 |  | Top Chanel | Nos. | 175 | [6 empty] | 12 | 2100
87 |  | Cross arm holding Clamp | Nos. | 30 | [6 empty] | 42 | 1260
88 |  | Brasing Clamp | Nos. | 30 | [6 empty] | 28 | 840
89 |  | Energy Meter O/U Dismantled Secure make | Nos. | 1000 | [6 empty] | 5 | 5000
90 |  | Energy Meter O/U Dismantled L&T | Nos. | 1000 | [6 empty] | 2 | 2000
91 | II0I001007 | 70 KN Disc InsulatorO/U Dismantled | Nos. | 20 | [6 empty] | 331 | 6620
92 | II0I001005 | 120 KN Disc InsulatorO/U Dismantled | Nos. | 25 | [6 empty] | 571 | 14275
93 |  | Analog type MW Meter (O/U) Dismantle | Nos. | 1000 | [6 empty] | 2 | 2000
94 |  | Analog type MVAR Meter (O/U) Dismantle | Nos. | 1000 | [6 empty] | 2 | 2000
95 |  | Energy Meter O/U Dismantled Obsolate (secure Make) | Nos. | 20 | [6 empty] | 13 | 260
96 |  | Energy Meter O/U Dismantled Obsolate (L&T Make) | Nos. | 20 | [6 empty] | 2 | 40
97 |  | 33 kv Defective CT 400/200/1 (o/u) dismantle Obsolate | Nos. | 1000 | [6 empty] | 1 | 1000
98 | II0I006003 | PG Clamp panther to Dog.(Previous Unit) | Nos. | 70 | [8 empty] | 0 | 0 | 2018-19
99 |  | PG Clamp panther to Dog.(Final Unit) | Kg. | [9 empty] | 0.7 | 0
100 |  | ACSR panther Conductor in Scarp in Pieces. | KG | 80 | [8 empty] | 162.82 | 13025.6 | 19.52 KG 2020- | 162.82 KG 2022-23
101 |  | All Aluminum Tarantula Conductor in Scarp | Kg. | 100 | [8 empty] | 0 | 0 | 2018-19
102 |  | Alu. Alloy Clamp Scarp | Kg. | 80 | [8 empty] | 33 | 2640 | 16 KG.2018-19 | 33 KG.2022-23
103 |  | ACSR Panther Conductor O/U Dismantled Cut & Bite Length in Scarp | Kg. | 70 | [8 empty] | 610 | 42700 |  | 2022-23
104 |  | ACSR Wolf Conductor O/U Dismantled Cut & Bite Length in Scarp | Kg. | 70 | [8 empty] | 0 | 0 | 2018-19
105 |  | Hard were Fittings O/U Dismantled in Scarp | Kg. | 70 | [8 empty] | 0 | 0 | 2018-19
106 |  | 36 kv CT 800/400/1 Brusted & Damaged | Nos. | 1500 | [8 empty] | 0 | 0 | 2018-19
107 |  | ACSR Wolf Conductor O/U Dismantled | Mtrs. | 15 | [8 empty] | 0 | 0 | 2018-19
108 |  | ACSR Wolf Conductor O/U Dismantled(Final Unit) | KG. | [9 empty] | 10.906 | 0
109 |  | G I Angle Scarp. | Kg. | 20 | [8 empty] | 0 | 0 | 2020
110 |  | Brunt & Damaged 33 kv PT (M S Portion Only) | Nos. | 100 | [8 empty] | 0 | 0 | 2020
111 | MM0M004006 | O/U Dismantled Defectiv Rex 521 Numerical Realy as Srap. | Nos. | 50 | [8 empty] | 4 | 200 | 2 NO.2020 | 2 NO.2022-23 | 2 NO.2023-24
112 | MM0M004005 | O/C,E/F,IDMT Relay O/U Dismanlted obsolate as scarp | Nos. | 20 | [8 empty] | 2 | 40 | 8 NO.2020 | 2NO.2022-23
113 |  | GI SCRAP (Invoice from Mr.Sumit J.E ) | Kg. | 10 | [8 empty] | 160 | 1600 |  | 2022-23
114 |  | CT/CVT Junction Box OLD& Used Dismanteld in Scrap. | Kg. | 10 | [8 empty] | 18 | 180 |  | 2022-23
115 |  | ACSR ZEBRA Conductor in Scarp in Pieces. | Kg. | 80 | [8 empty] | 130 | 10400 |  | 2022-23
116 |  | HTLS Conductor Including Corbon Rod O/U Dismantled Cut & Bite Length in Scarp | Kg. | 70 | [8 empty] | 1450 | 101500 |  | 2022-23
117 | MM0M002009 | O/U Dismantled Defective Numerical Tranformer deffrintial protection Realy as Scrap. | Nos. | 50 | [8 empty] | 1 | 50 |  | 2022-23
118 |  | O/U Dismantled Energy Meter Box in Scrap | Kg. | 10 | [8 empty] | 32 | 320 |  | 2022-23
119 |  | Control cable 2.5*4 core O/U Dismanted cut & bite in length in scrap(received back) | Mtrs. | 1 | [8 empty] | 48 | 48 |  | 2022-23
120 |  | 70 KN Silicon Insulator HTLS O/U Dismantled Diffective & damaged as scrap | Nos. | 10 | [8 empty] | 1 | 10 |  | 2022-23
121 |  | Control cable 2.5*6 core O/U Dismanted cut & bite in length in scrap(received back) | Mtrs. | 1 | [8 empty] | 150 | 150 |  | 2022-23
122 |  | 33kv Breaker Bursted & Damaged in Scarp incomplite | Nos. | 2000 | [8 empty] | 1 | 2000 |  | 2022-23
123 |  | 33kv CT Bursted & Damaged in Scrap | Nos. | 1000 | [8 empty] | 3 | 3000 |  | 2022-23
124 |  | Numerical Distance Protection Relay O/U Dismantled Defective as Scrap (ABB Make) REL511 | Nos. | 50 | [8 empty] | 1 | 50 |  | 2022-23
125 |  | Control Cable.O/U Dismantled Cut & Bite in Length in Scrap in Various Core,(2.5 mm×2 core,2.5 mm×4 core,2.5 mm×6 core,2.5 mm×10 core) | KG. | 20 | [8 empty] | 3040 | 60800 |  | 2022-23
126 |  | CT/PT Junction Box OLD& Used Dismanteld in Scrap. | Kg. | 10 | [8 empty] | 110 | 1100 |  | 2022-23
127 |  | Rejected/damaged Fire Extinguser as Scrap(receive Back) | KG. | 10 | [8 empty] | 17 | 170 |  |  | 2023-24
128 |  | 33kv Breaker Bursted & Damaged in Scarp incomplite ABB Make | Nos. | 2000 | [8 empty] | 1 | 2000 |  |  | 2023-24
129 |  | Empty Oil Drum (O/U)as Scrap | Nos. | 100 | [8 empty] | 3 | 300 |  |  | 2023-24
130 |  | 33 kv Defective CT 400/200/1 (o/u) dismantle Obsolate | Nos. | 1000 | [6 empty] | 1 | 1000
131 |  | Alu. Alloy Clamp Scarp | Kg. | 80 | [8 empty] | 13 | 1040
132 |  | Dead end clamp HTLS | Nos. | 45980 | 2 | 91960 | [7 empty] | 0
133 |  | Digital MVAR meter,110V DC Class 0.5 | Nos. | 16508.2 | 0 | 0 | [7 empty] | 0
134 |  | Digital Volt meter ,110V Class 0.5 | Nos. | 6832.2 | 0 | 0 | [7 empty] | 0
135 |  | Old & Used 33KV circuit Breakers | Nos. | 10000 |  | 0 | [6 empty] | 1 | 10000
136 |  | boltless C type wedge connectors suitable for ACSR panther to panther conductor with stopper having current carrying capacity 800Amp . | Nos. | 4720 | 1 | 4720 | [7 empty] | 0
137 |  | boltless C type wedge connector suitable for ACSR Zebra to panther conductor with stopper having current carrying capacity 1400Amp. | Nos. | 3304 | 2 | 6608 | [7 empty] | 0
138 |  | boltless C type wedge connector suitable for ACSR Zebra to Zebra conductor with stopper having current carrying capacity 1400Amp. | Nos. | 3127 | 2 | 6254 | [7 empty] | 0
139 |  | boltless CT connectors suitable for panther to panther conductor wedge clamp ,CT stud size 32-38mm current carrying capacity 800Amp. | Nos. | 3540 | 0 | 0 | [7 empty] | 0
140 |  | Electrical/Electronic Contact Spray 500 ml.equipped with Extention tube for hard to reach area.Fast evaporating suited for Electrical/Electronic device to remove grease,dirt,oil,flux and other contaminates,non flammable &safe. | Nos. | 531 | 2 | 1062 | [7 empty] | 0
141 |  | Element for Distil Water Plant(2500 watt/250 volt)for making of distil water for battery | Nos. | 2124 | 2 | 4248 | [7 empty] | 0
142 |  | Petrolium Jelly | Nos. | 531 | 5 | 2655 | [7 empty] | 0
143 |  | Tripping Coil, 110 Volt DC & 43.8 Ohm Suitable for 33 KVBHEL Make VCB | Nos. | 2950 | 0 | 0 | [7 empty] | 0
144 |  | Copper Bond.having dia 12mm having Length 500 mm with Cu Lug | Nos. | 1121 | 0 | 0 | [7 empty] | 0
145 |  | Earth wire | Km. | 39482 | 2.5 | 98705 | [7 empty] | 0
146 |  | ABC Type tower part including stub,cleat (uncomplete) | MT. | 56294 | 81.209 | 4571579.446 | [7 empty] | 0
147 |  | ACSR Moose Conductor | mtr. | 120 | 161 | 19320 | [7 empty] | 0
148 |  | Old and used defective Diffrential relay | Nos. | 50 | [8 empty] | 1 | 50
149 |  | 40 MVA Transformer LT Bushing clamp for Twin Tarantula Conductor1250 Amp Current Caring Capacity Standred Size & Weight Approx 4.0 Kg of Aluminium alloy | Nos. | 4130 | 4 | 16520
150 |  | 33 KV PG Clamp Tarantula to Tarantula Conductor 1250 Amp Current Caring Capacity 3 bolted, Standred Size & Weight Approx 2.0 Kg of Aluminium alloy | Nos. | 2360 | 8 | 18880
151 |  | 33 KV Isolator Clamp for Twin Tarantula Conductor1250 Amp Current Caring Capacity Standred Size & Weight Approx 1.5 Kg of Aluminium alloy | Nos. | 2006 | 8 | 16048
152 |  | 33 KV CT Clamp for Twin Tarantula Conductor1250 Amp Current Caring Capacity Standred Size & Weight Approx 2.0 Kg of Aluminium alloy | Nos. | 2360 | 10 | 23600
153 |  | 33 KV Circuit Breaker Clamp for Twin Tarantula Conductor1250 Amp Current Caring Capacity Standred Size & Weight Approx 2.0 Kg of Aluminium alloy | Nos. | 2360 | 8 | 18880
154 |  | 33 KV T-Connector for Tarantula to Tarantula Conductor1250 Amp Current Caring Capacity Standred Size & Weight Approx 1.5 Kg of Aluminium alloy | Nos. | 2360 | 10 | 23600
155 |  | boltless mechanical special Al-alloy "c"type wedge connectors suitable for panther to panther conductor with stopper having current carriying capacity 800Amp. | Nos. | 2360 | 11 | 25960
156 |  | boltless mechanical special Al-alloy "c"type wedge connectors suitable for Zebra to Zebra conductor with stopper having current carriying capacity 1400Amp. | Nos. | 4012 | 13 | 52156
157 |  | boltless mechanical special Al-alloy "c"type wedge connectors suitable for Zebra to panther conductor with stopper having current carriying capacity 1400Amp. | Nos. | 3929.4 | 10 | 39294
|  | Total (in Rs) |  |  | Total Amt.of Useable | 6043544.759 | Total Amt.of Unserviceble | NIL | Total Amt.of Non moving | 79400 | Total Amt.of Obsolate | 46675 | Total Amt.of Scrap. | 253373.6
|  | Grand Total (in Rs) |  | 6422993.359
Name of Zone- Garhwal Zone
Name Of Circle- O&M Circle Roorkee
Name Of Division-220 kv O&M Division Roorkee
Name Of Substation- 66 K.V. Substation Thithki
Month May-2025
Sr.No. | Item Code | Item | Unit | Unit Rate in Rs. | Useable |  | Unserviceable |  | Non Moving |  | Obsolete |  | Scrap
[5 empty] | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs.
1 | KK0K005001 | 33 KV L.A. | No. | 23600 | 2 | 47200 | - | - | - | - | - | - | - | -
2 | SS4S401001 | 66 K.V Isolator Jaw Capacity 800 Amp. | No. | 2938.2 | 1 | 2938.2 | - | - | - | - | - | - | - | -
3 | VV5V407023 | CT- Clamp 66 K.V | No. | 1952.9 | 2 | 3905.8 | - | - | - | - | - | - | - | -
4 | SS4S401001 | Aluminium Alloy Scrap | Kg. | 70 | - | - | - | - | - | - | - | - | 1.7 | 119
5 | SS4S401001 | Copper Scrap | Kg. | 200 | - | - | - | - | - | - | - | - | 2.05 | 410
6 | AA0A002004 | ACSR Panther Conductor Scrap | Kg. | 70 | - | - | - | - | - | - | - | - | 4 | 280
7 |  | Energy Meter L&T make, O/U | No. | 500 | 5 | 2500 | - | - | - | - | - | - | - | -
8 | AA0A002007 | ACSR Dog Conductor O/U Dismantled | Kg. | 50 | 105 | 5250 | - | - | - | - | - | - | - | -
9 | CC3C307001 | 33 kv XLPE Outdoor Cable Termination Kit,3 Core 400mm2 make Reychem | No. | 32450 | 1 | 32450 | - | - | - | - | - | - | - | -
10 | CC3C307002 | 33 kv XLPE Outdoor Cable Termination Kit,3 Core 300mm2 make Reychem | No. | 25960 | 2 | 51920 | - | - | - | - | - | - | - | -
11 | FF1F107002 | 28 MM Dia Foundation Anchor Bolt | No. | 260 | 6 | 1560 | - | - | - | - | - | - | - | -
12 | FF1F107001 | 32 MM Dia Foundation Anchor Bolt | No. | 350 | 2 | 700 | - | - | - | - | - | - | - | -
14 | - | 2V VRLA Battery Cell Damaged | No. | 300 | - | - | 32 | 9600 | - | - | - | - | - | -
15 | II1I105001 | C-Wedge Connector for Panther to Panther | No. | 1937.56 | 6 | 11625.36 | - | - | - | - | - | - | - | -
16 | SS4S401001 | 66 kv Isolator Jaw Current Carrying Capacity 1600 Amp | No. | 3536.46 | 2 | 7072.92 | - | - | - | - | - | - | - | -
17 | - | Pad Connector/Clamp for Panther | No. | 2336.4 | 5 | 11682 | - | - | - | - | - | - | - | -
18 | - | C-Wedge Connector for Dog to Dog | No. | 1522.2 | 3 | 4566.6 | - | - | - | - | - | - | - | -
19 | - | 132 kv B Type tower part S/C TD 1/2 108 B Marks O/U Dismantled | MT | 50000 | 0.64 | 32000 | - | - | - | - | - | - | - | -