## Substation
Item Inventory
Name of Zone - Garhwal Zone
Name of circle - (O&M) Circle Yamuna Colony Dehradun
Name of Division - 220 KV (O&M) I.D Jhajhra Dehradun
Name of Substation - 220 KV SubStation Jhajhra Dehradun
Month - November - 2021
S. No. | Item code | Name of Item | Unit | Unit rate in Rs. | Useable |  | Unserviceable |  | Non-Moving |  | Obsolete |  | Scrap
[5 empty] | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs.
1 |  | C/D Type Tower with Bolts, Nuts & Stub (Galvanized) | MT | 102024 | 0.93 | 94882.32 | … | … | … | … | … | … | … | …
2 | AA0A002003 | ACSR Zebra Conductor | KM | 231471.78 | 0.723 | 167354.0969 | … | … | … | … | … | … | … | …
3 | CC2C201003 | HF Cable | Km. | 202456.15 | 2.138 | 432851.2487 | … | … | … | … | … | … | … | …
4 | MM0M007001 | Buchhloz Relay Atvus GOR - III SR. No. JJ04178(Main Tank complete with contacts) | No. | 122000 | 1 | 122000 | … | … | … | … | … | … | … | …
5 | VV1V101010 | HV Bushing for 160 MVA ABB, 245 KV / 1250 Amp. Bushing OTP | No. | 1140000 | 1 | 1140000 | … | … | … | … | … | … | … | …
6 | VV1V101011 | LV Bushing for 160 MVA ABB, 145KV/ 1250Amp. Bushing OTP | No. | 90000 | 1 | 90000 | … | … | … | … | … | … | … | …
7 | VV2V214001 | PT- 100 Sensor SR. No. B1201057.5 | No. | 4500 | 1 | 4500 | … | … | … | … | … | … | … | …
8 | VV2V216007 | CCU with PSU SR. No. B1201064.2 | No. | 3500 | 1 | 3500 | … | … | … | … | … | … | … | …
9 | VV2V216001 | R.T. Indicator (M-2245T2) SR.No. B1201088.1 | No. | 4300 | 1 | 4300 | … | … | … | … | … | … | … | …
10 | VV2V214001 | PT- 100 Sensor SR. No. B1201057.2 | No. | 4500 | 1 | 4500 | … | … | … | … | … | … | … | …
11 | VV2V216006 | CCU with PSU SR. No. B1201087.4 | No. | 3500 | 1 | 3500 | … | … | … | … | … | … | … | …
12 | VV2V216002 | R.T. Indicator (M-2245T2) SR.No. B1201164.2 | No. | 4300 | 1 | 4300 | … | … | … | … | … | … | … | …
13 | VV2V214002 | Out of step contactor(Siemens) | No. | 3000 | 1 | 3000 | … | … | … | … | … | … | … | …
14 |  | Time delay relay for out of step (EAPL) (M.No.-3TH30-31-OAFO) | No. | 2300 | 1 | 2300 | … | … | … | … | … | … | … | …
15 |  | Coller control selector switch (kaycee) 5 pole, 16A, 240V AC/DC | No. | 2200 | 1 | 2200 | … | … | … | … | … | … | … | …
16 |  | Control relay for cooler control supply (schneider) 6A, 415V, coil- 240V AC MNO- CAD32M7) | No. | 5648 | 1 | 5648 | … | … | … | … | … | … | … | …
17 | MM0M019002 | Phase failure with UV/OV Relay (Minilec) auto reset, system voltage 415V AC | No. | 4567 | 1 | 4567 | … | … | … | … | … | … | … | …
18 | VV2V206001 | Oil temperature indicator with contacts (OTI) SR.No. B 1201293.2 | No. | 28500 | 1 | 28500 | … | … | … | … | … | … | … | …
19 | VV2V207001 | Winding temperature indicator contacts (WTI) SR.No. B1201222.2 | No. | 25678 | 1 | 25678 | … | … | … | … | … | … | … | …
20 | VV2V209001 | Pressure relief device(PRV) SR. No.(M N-T-6LS-M) | No. | 34000 | 1 | 34000 | … | … | … | … | … | … | … | …
21 | VV2V208002 | Magnetic Oil Level Gauge (MOG SR.No. 86750 250 DIA) | No. | 32000 | 1 | 32000 | … | … | … | … | … | … | … | …
22 |  | Remote tap positio indicator SR.No. TPC 2001/12050 | No. | 45600 | 1 | 45600 | … | … | … | … | … | … | … | …
23 |  | Oil flow indicator SR.No. 36310 (Oil Flow Indicator with Flow Switch) | Set | 6197 | 1 | 6197 | … | … | … | … | … | … | … | …
24 |  | Cooler pump SR.No. 12050368 (Oil Cooler Pump with Motor) | No. | 162000 | 1 | 162000 | … | … | … | … | … | … | … | …
25 | MM0M007003 | Buchhloz Relay Atvus GOR - III SR. No. J05514(main tank) complete with contacts | No. | 32000 | 1 | 32000 | … | … | … | … | … | … | … | …
26 | VV1V101035 | LV Bushing for 40MVA (36KV/2000A) Bushing, Porcelain | No. | 25000 | 1 | 25000 | … | … | … | … | … | … | … | …
27 | VV2V214001 | PT- 100 Sensor SR. No. B1201083.6 | No. | 3000 | 1 | 3000 | … | … | … | … | … | … | … | …
28 | VV2V216007 | CCU with PSU SR. No. B1201064.1 | No. | 2100 | 1 | 2100 | … | … | … | … | … | … | … | …
29 | VV2V214001 | PT- 100 Sensor SR. No. B1201065.2 | No. | 3000 | 1 | 3000 | … | … | … | … | … | … | … | …
30 | VV2V216007 | CCU with PSU SR. No. B1201087.3 | No. | 2100 | 1 | 2100 | … | … | … | … | … | … | … | …
31 |  | Time delay relay for out of step (EAPL) | No. | 324 | 1 | 324 | … | … | … | … | … | … | … | …
32 |  | Control relay for cooler control supply (schneider) 6A, 415V, coil- 240V AC (MNO- CAD32M7) | No. | 678 | 2 | 1356 | … | … | … | … | … | … | … | …
33 | VV2V209001 | Pressure relief device (PRV) SR. No. 71191 | No. | 4200 | 1 | 4200 | … | … | … | … | … | … | … | …
34 | VV2V208002 | Magnetic oil Gauge (MOG SR.No. 86803) | No. | 1200 | 1 | 1200 | … | … | … | … | … | … | … | …
35 |  | Remote tap position indicator SR.No. 12049 MNO- TPC-12232) | No. | 3240 | 1 | 3240 | … | … | … | … | … | … | … | …
36 | JJ2J201010 | One complete pole of 2500A CB with pole column and interrupter but without PIR with MB & operating mechanism and without support structure. | No. | 295000 | 1 | 295000 | … | … | … | … | … | … | … | …
37 | JJ7J704028 | O Ring P-260 | Nos. | 300 | 6 | 1800 | … | … | … | … | … | … | … | …
38 | JJ7J704028 | O Ring P-40 | Nos. | 215 | 3 | 645 | … | … | … | … | … | … | … | …
39 | JJ7J704028 | O Ring P-12 | Nos. | 250 | 3 | 750 | … | … | … | … | … | … | … | …
40 | JJ7J704028 | O Ring P-18 | Nos. | 90 | 12 | 1080 | … | … | … | … | … | … | … | …
41 | JJ7J704028 | O Ring P-7 | Nos. | 100 | 15 | 1500 | … | … | … | … | … | … | … | …
42 | JJ7J704028 | O Ring P-170 | Nos. | 60 | 12 | 720 | … | … | … | … | … | … | … | …
43 | JJ2J201016 | Gas pressure Switch | No. | 255 | 1 | 255 | … | … | … | … | … | … | … | …
44 |  | Gas pressure gauge (Coupling Device N/R) | No. | 500 | 1 | 500 | … | … | … | … | … | … | … | …
45 |  | Stationery Contact | No. | 2500 | 1 | 2500 | … | … | … | … | … | … | … | …
46 |  | Stationery Arc Contact | No. | 2000 | 1 | 2000 | … | … | … | … | … | … | … | …
47 | JJ2J201011 | Moving Contact | No. | 2200 | 1 | 2200 | … | … | … | … | … | … | … | …
48 |  | Moving Arc Contact | No. | 2300 | 1 | 2300 | … | … | … | … | … | … | … | …
49 | JJ7J710013 | Nozzle | No. | 2500 | 1 | 2500 | … | … | … | … | … | … | … | …
50 |  | Pressure Gauge & coupling device for each type(Gas pressure Gauge- 3 No. ) | Set | 619 | 1 | 619 | … | … | … | … | … | … | … | …
51 | JJ7J710003 | Joint M | No. | 45 | 1 | 45 | … | … | … | … | … | … | … | …
52 |  | Over load Relay | No. | 457 | 1 | 457 | … | … | … | … | … | … | … | …
53 |  | Control valve (Dilo valve 1 No.) | Set | 280 | 1 | 280 | … | … | … | … | … | … | … | …
54 | JJ2J201020 | Spring Operating Mechanism complete | Set | 122000 | 1 | 122000 | … | … | … | … | … | … | … | …
55 | JJ7J710006 | Closing dashpot | Set | 18600 | 1 | 18600 | … | … | … | … | … | … | … | …
56 | JJ7J710005 | Opening dashpot | Set | 18600 | 1 | 18600 | … | … | … | … | … | … | … | …
57 | JJ7J710007 | Opening latch gear | Set | 18600 | 1 | 18600 | … | … | … | … | … | … | … | …
58 |  | One complete pole of Isolator including support insulator with 1 E/S with operating mechanism for main isolator and earth switch (excluding structure) | No. | 54000 | 1 | 54000 | … | … | … | … | … | … | … | …
59 |  | Corona shielding ring of each type | Set | 3500 | 2 | 7000 | … | … | … | … | … | … | … | …
60 | SS2S201006 | Support Insulator | No. | 24000 | 1 | 24000 | … | … | … | … | … | … | … | …
61 |  | 245kV, 1600A, 120% extended 5 core CT complete in all respects including terminal connectors and support stool for erecting on standard support structure. | No. | 96530.1 | 2 | 193060.2 | … | … | … | … | … | … | … | …
62 |  | 245 kV, 4400 pf, CVT complete in all respects including terminal connectors and support stool for erecting on standard support structure. | No. | 90854.8 | 1 | 90854.8 | … | … | … | … | … | … | … | …
63 | KK0K002001 | 216 kV Surge arrester complete with insulating base and surge monitor and terminal connectors | No. | 19434.525 | 2 | 38869.05 | … | … | … | … | … | … | … | …
64 | JJ3J301010 | One complete pole of 1600A CB with pole column and interrupter without PIR & MB and operating mechanism and without support structure. | No. | 275776 | 1 | 275776 | … | … | … | … | … | … | … | …
65 | JJ7J707001 | SF6 gas | Kg. | 450 | 27.5 | 12375 | … | … | … | … | … | … | … | …
66 | JJ7J704028 | O Ring P-40 | Nos. | 1500 | 1 | 1500 | … | … | … | … | … | … | … | …
67 | JJ7J704028 | O Ring P-12 | Nos. | 250 | 3 | 750 | … | … | … | … | … | … | … | …
68 | JJ7J704028 | O Ring P-18 | Nos. | 120 | 12 | 1440 | … | … | … | … | … | … | … | …
69 | JJ7J704028 | O Ring P-7 | Nos. | 100 | 13 | 1300 | … | … | … | … | … | … | … | …
70 | JJ7J704028 | O Ring P-170 | Nos. | 260 | 12 | 3120 | … | … | … | … | … | … | … | …
71 | JJ7J710017 | Closing coils with resister (resister not required for CG design) | Nos. | 5000 | 1 | 5000 | … | … | … | … | … | … | … | …
72 |  | Gas pressure gauge - 1No. (Coupling Device N/R) | No. | 500 | 1 | 500 | … | … | … | … | … | … | … | …
73 | JJ3J301011 | Moving Contact | No. | 2200 | 1 | 2200 | … | … | … | … | … | … | … | …
74 | JJ7J710013 | Nozzle | No. | 2500 | 1 | 2500 | … | … | … | … | … | … | … | …
75 |  | Pressure Gauge & coupling device for each type(Gas pressure Gauge- 3 No. ) | Set | 2200 | 1 | 2200 | … | … | … | … | … | … | … | …
76 |  | Operation counter | No. | 2100 | 1 | 2100 | … | … | … | … | … | … | … | …
77 | JJ7J710003 | Joint M | No. | 45 | 1 | 45 | … | … | … | … | … | … | … | …
78 | JJ7J710011 | Copper T | No. | 75 | 1 | 75 | … | … | … | … | … | … | … | …
79 | JJ7J710004 | Joint F | No. | 90 | 1 | 90 | … | … | … | … | … | … | … | …
80 |  | Dilo Coupling -Male | No. | 95 | 1 | 95 | … | … | … | … | … | … | … | …
81 |  | Dilo Coupling -FeMale | No. | 45 | 1 | 45 | … | … | … | … | … | … | … | …
82 | JJ7J710030 | End Connector 1 No. | No. | 45 | 1 | 45 | … | … | … | … | … | … | … | …
83 | JJ7J710029 | 43 LRO SW -01 No. ( Cap 33 KV ) | No. | 160 | 2 | 320 | … | … | … | … | … | … | … | …
84 |  | Control valve (Dilo valve 1 No.) | Set | 280 | 1 | 280 | … | … | … | … | … | … | … | …
85 | JJ3J301018 | Spring Operating Mechanism complete | Set | 63000 | 1 | 63000 | … | … | … | … | … | … | … | …
86 | JJ7J710006 | Closing dashpot | Set | 8000 | 1 | 8000 | … | … | … | … | … | … | … | …
87 | JJ7J710005 | Opening dashpot | Set | 8000 | 1 | 8000 | … | … | … | … | … | … | … | …
88 | JJ7J710007 | Opening Latch gear | Set | 5038 | 1 | 5038 | … | … | … | … | … | … | … | …
89 | JJ7J710008 | Closing Latch gear | Set | 5039 | 1 | 5039 | … | … | … | … | … | … | … | …
90 |  | Interlocking coils with resistor | No. | 2400 | 5 | 12000 | … | … | … | … | … | … | … | …
91 | SS3S301016 | Support Insulator | No. | 21000 | 1 | 21000 | … | … | … | … | … | … | … | …
92 |  | 145kV, 800A, 120% extended 5 core CT complete in all respects including terminal connectors and support stool for erecting on standard support structure. | No. | 73828.9 | 1 | 73828.9 | … | … | … | … | … | … | … | …
93 | KK0K002001 | 116 kV Surge arrester complete with insulating base and surge monitor and terminal connectors | No. | 15064.545 | 2 | 30129.09 | … | … | … | … | … | … | … | …
94 | JJ5J503011 | 33KV Circuit breaker pole | No. | 17255.67 | 2 | 34511.34 | … | … | … | … | … | … | … | …
95 | JJ5J501034 | One complete pole of Isolator including support insulator with 1 E/S with operating mechanism for main isolator and earth switch (excluding structure) | No. | 45177.7 | 1 | 45177.7 | … | … | … | … | … | … | … | …
96 | VV3V305005 | 33KV Current transformer 800/400/1 Amp. | No. | 12510.66 | 1 | 12510.66 | … | … | … | … | … | … | … | …
97 |  | 33 KV / 110 Volt Potential transformer | No. | 12510.66 | 1 | 12510.66 | … | … | … | … | … | … | … | …
98 | KK0K005001 | 33KV Lighting Arrester | No. | 2011.355 | 2 | 4022.71 | … | … | … | … | … | … | … | …
99 | MM2M203002 | Ammeter with transducer | No. | 300 | 2 | 600 | … | … | … | … | … | … | … | …
100 |  | Wattmeter with transducer | No. | 280 | 1 | 280 | … | … | … | … | … | … | … | …
101 |  | Varmeter with transducer | No. | 310 | 1 | 310 | … | … | … | … | … | … | … | …
102 | MM2M202002 | Voltmeter with transducer | No. | 250 | 1 | 250 | … | … | … | … | … | … | … | …
103 |  | Voltmeter selector switch | No. | 360 | 1 | 360 | … | … | … | … | … | … | … | …
104 |  | Semaphore indicator for Earth switch | No. | 1000 | 2 | 2000 | … | … | … | … | … | … | … | …
105 | SS7S710002 | Annunciations windows with necessary annunciation relay | No. | 3000 | 1 | 3000 | … | … | … | … | … | … | … | …
106 |  | Trip transfer switch | No. | 350 | 1 | 350 | … | … | … | … | … | … | … | …
107 | MM0M012001 | Self reset trip relay (one relay of each type) Type- RXMS+RXME | No. | 4500 | 1 | 4500 | … | … | … | … | … | … | … | …
108 | MM2M203002 | Ammeter with transducer | No. | 300 | 2 | 600 | … | … | … | … | … | … | … | …
109 |  | Wattmeter with transducer | No. | 280 | 1 | 280 | … | … | … | … | … | … | … | …
110 |  | Varmeter with transducer | No. | 310 | 1 | 310 | … | … | … | … | … | … | … | …
111 | MM2M202002 | Voltmeter with transducer | No. | 250 | 1 | 250 | … | … | … | … | … | … | … | …
112 |  | Voltmeter selector switch | No. | 360 | 1 | 360 | … | … | … | … | … | … | … | …
113 | NN4N408004 | Control switch for breaker | No. | 550 | 1 | 550 | … | … | … | … | … | … | … | …
114 | NN4N408005 | Control switch for isolator | No. | 700 | 1 | 700 | … | … | … | … | … | … | … | …
115 |  | Semaphore indicator for Earth switch | No. | 1000 | 2 | 2000 | … | … | … | … | … | … | … | …
116 | SS7S710002 | Annunciations windows with necessary annunciation relay | No. | 3000 | 1 | 3000 | … | … | … | … | … | … | … | …
117 | NN4N412005 | Trip transfer switch (if applicable) | No. | 280 | 1 | 280 | … | … | … | … | … | … | … | …
118 |  | Synchronizing socket | No. | 356 | 1 | 356 | … | … | … | … | … | … | … | …
119 | MM0M012001 | Self reset trip relay (one relay of each type) Type- RXMS+RXME | No. | 4200 | 1 | 4200 | … | … | … | … | … | … | … | …
120 | MM0M018001 | Flag relays (one relay of each type) Type- RXSF1 | No. | 3700 | 1 | 3700 | … | … | … | … | … | … | … | …
121 | MM0M019019 | CVT selection relay Type- RXMD2 (1Set=02 No.) | Set | 780 | 1 | 780 | … | … | … | … | … | … | … | …
122 |  | Inter-posing CT & PTs each type | Set | 500 | 1 | 500 | … | … | … | … | … | … | … | …
123 | NN5N506008 | Metrosil(No.n-linear resistor) each type | No. | 3500 | 1 | 3500 | … | … | … | … | … | … | … | …
124 | NN5N506009 | Longest optical cable (1Set = 90Mtr.) | Set | 19212 | 1 | 19212 | … | … | … | … | … | … | … | …
125 | NN5N506028 | Spare AMP,( Carrier Equipment ) Sl 7612328DP100017 | No. | 4500 | 1 | 4500 | … | … | … | … | … | … | … | …
126 | NN5N506029 | PRCS Sr No.-7612326DP100039 | No. | 4300 | 1 | 4300 | … | … | … | … | … | … | … | …
127 | NN5N501009 | EPAX Spare Card | No. | 1200 | 1 | 1200 | … | … | … | … | … | … | … | …
128 | NN5N506030 | Telephone Set | No. | 400 | 1 | 400 | … | … | … | … | … | … | … | …
129 | NN5N506031 | Coupling device without base plate | Set | 3500 | 2 | 7000 | … | … | … | … | … | … | … | …
130 | NN5N506032 | Telephone 4 wire with necessary connecting cable | Set. | 1050 | 1 | 1050 | … | … | … | … | … | … | … | …
131 | NN5N506033 | Co-axial connector | Set | 225.6 | 2 | 451.2 | … | … | … | … | … | … | … | …
132 | NN5N506034 | Straight through joint | Set | 300 | 1 | 300 | … | … | … | … | … | … | … | …
133 | NN5N506035 | UT148 Sr No. -123027154 | No. | 500 | 1 | 500 | … | … | … | … | … | … | … | …
134 | NN5N506036 | IR 183 Sr No.-123023595 | No. | 450 | 1 | 450 | … | … | … | … | … | … | … | …
135 | NN5N506036 | SR 200 Sr No.-123026674 | No. | 450 | 1 | 450 | … | … | … | … | … | … | … | …
136 | NN5N506038 | AL137 Sr No.-123023051 | No. | 700 | 1 | 700 | … | … | … | … | … | … | … | …
137 |  | Nitrogen Cylinder (68 Ltrs Water capacity) | No. | 12300 | 1 | 12300 | … | … | … | … | … | … | … | …
138 |  | Set of Hose Pipe with Fittings | No. | 350 | 1 | 350 | … | … | … | … | … | … | … | …
139 |  | LHD Cable | Mtrs. | 150 | 12 | 1800 | … | … | … | … | … | … | … | …
140 |  | 2 way LHD Box | No. | 184 | 3 | 552 | … | … | … | … | … | … | … | …
141 |  | 3 way LHD Box | No. | 380 | 1 | 380 | … | … | … | … | … | … | … | …
142 |  | Fire Survival Cable sufficient for 1 System | Mtr. | 180 | 40 | 7200 | … | … | … | … | … | … | … | …
143 |  | PNRV | No. | 12000 | 1 | 12000 | … | … | … | … | … | … | … | …
144 |  | Fire Detectors( 12 mtr LHD Cable for each system) | Mtrs. | 150 | 48 | 7200 | … | … | … | … | … | … | … | …
145 |  | Thermostat | No. | 280.1 | 4 | 1120.4 | … | … | … | … | … | … | … | …
146 |  | Heating Element | No. | 650 | 4 | 2600 | … | … | … | … | … | … | … | …
147 |  | Solenoid Coil Fuel shut off Valve | No. | 2500 | 1 | 2500 | … | … | … | … | … | … | … | …
148 |  | Lubricant oil Sensor, Pressure | No. | 890 | 1 | 890 | … | … | … | … | … | … | … | …
149 |  | PCC assy | No. | 4832.4 | 1 | 4832.4 | … | … | … | … | … | … | … | …
150 | YY0Y003022 | Inter cell connectors with bolts and nuts | No. | 84 | 3 | 252 | … | … | … | … | … | … | … | …
151 | YY0Y003022 | Inter cell connectors with bolts and nuts | No. | 84 | 10 | 840 | … | … | … | … | … | … | … | …
152 |  | Main Control Card (CARD SPCL-441V2) | No. | 300 | 1 | 300 | … | … | … | … | … | … | … | …
153 |  | DC-DC Card (CARD SPCL-405, 48 V/12 V) | No. | 300 | 1 | 300 | … | … | … | … | … | … | … | …
154 |  | Feed back card(card SPCL-236 for 220 V) | No. | 200 | 1 | 200 | … | … | … | … | … | … | … | …
155 |  | DC Undervolt Drop resistance card ,CARD SPCL 236(1K2/2WX 6No.) | No. | 400 | 1 | 400 | … | … | … | … | … | … | … | …
156 |  | DC O/V Battery discharge Bleeder ,CARD SPCL236 (1K2/2WX6No.) | No. | 100 | 1 | 100 | … | … | … | … | … | … | … | …
157 |  | TEMP. CONP. CARD(CARD SPCL-43V1) | No. | 350 | 1 | 350 | … | … | … | … | … | … | … | …
158 |  | LED INDICATOR CARD(CARD SPCL-442) | No. | 250 | 1 | 250 | … | … | … | … | … | … | … | …
159 |  | TRIP RELAY(Relay 12 V , 3C/O, 5A) | No. | 400 | 1 | 400 | … | … | … | … | … | … | … | …
160 |  | EARTH FAULT RELAY (Relay 110 V , 3C/O, 5A) | No. | 400 | 1 | 400 | … | … | … | … | … | … | … | …
161 |  | AUX .INPUT CONTACTOR( AC CONTACTOR 25 A,AC1 ,415 V, 1No.+1NC Aux) | No. | 450 | 1 | 450 | … | … | … | … | … | … | … | …
162 | YY1Y105002 | Filter capacitor selected Value 50000mf / 350 Volt | No. | 0 | 1 | 0 | … | … | … | … | … | … | … | …
163 | YY1Y105001 | Thyristor / diode (Blocking Diode) 150 A Lav / 1200Volt | No. | 350 | 1 | 350 | … | … | … | … | … | … | … | …
164 |  | Bleeder (W/W/R 750E/250W OR EQ) | No. | 100 | 1 | 100 | … | … | … | … | … | … | … | …
165 |  | Earth fault resistance (W/W/R 2K2/20W) | Set | 202.95 | 1 | 202.95 | … | … | … | … | … | … | … | …
166 |  | Main Control Card (CARD SPCL-441V2) | No. | 300 | 1 | 300 | … | … | … | … | … | … | … | …
167 |  | Annunciation card ( SPCL-440V2) | No. | 500 | 1 | 500 | … | … | … | … | … | … | … | …
168 |  | DC-DC Card (CARD SPCL-405, 48 V/12 V) | No. | 300 | 1 | 300 | … | … | … | … | … | … | … | …
169 |  | Mains on R,Y,B LED CARD(CARD SPCL-161(R,Y,B) | No. | 500 | 1 | 500 | … | … | … | … | … | … | … | …
170 |  | FLOAT BOOST ,DC ON LEDCARD( SPCL-161(Y,R,G)) | No. | 400 | 1 | 400 | … | … | … | … | … | … | … | …
171 |  | TEMP. CONP. CARD(CARD SPCL-43V1) | No. | 350 | 1 | 350 | … | … | … | … | … | … | … | …
172 |  | LED INDICATOR CARD(CARD SPCL-442) | No. | 250 | 1 | 250 | … | … | … | … | … | … | … | …
173 |  | FLOAT BOOST RELAY(Relay 12 V , 3C/O, 5A) | No. | 370 | 1 | 370 | … | … | … | … | … | … | … | …
174 | YY2Y204010 | CHARGER FAIL RELAY(Relay 12 V , 3C/O, 5A) | No. | 330 | 1 | 330 | … | … | … | … | … | … | … | …
175 |  | EARTH FAULT RELAY (Relay 110 V , 3C/O, 5A) | No. | 400 | 1 | 400 | … | … | … | … | … | … | … | …
176 |  | INPUT CONTACTOR( AC CONTACTOR 25 A,AC1 ,415 V, TP+1No.+2NC Aux) | No. | 550 | 1 | 550 | … | … | … | … | … | … | … | …
177 | YY1Y105002 | Filter capacitor selected Value 10000mf / 110 Volt | No. | 200 | 1 | 200 | … | … | … | … | … | … | … | …
178 |  | SCR-SCR Module (SCR-SCR Module 55A LAV/400 V | No. | 50 | 3 | 150 | … | … | … | … | … | … | … | …
179 | YY1Y109038 | Thyristor / diode (Blocking Diode) 150 A Lav / 400Volt | No. | 200 | 1 | 200 | … | … | … | … | … | … | … | …
180 |  | Bleeder (W/W/R 100E/100W OR EQ | No. | 100 | 1 | 100 | … | … | … | … | … | … | … | …
181 |  | Earth Fault Resistance(W/W/R 470 E /20W) | No. | 202.95 | 1 | 202.95 | … | … | … | … | … | … | … | …
182 |  | Potentiometer (potentionmeter 10 K/1 W) | No. | 180 | 1 | 180 | … | … | … | … | … | … | … | …
183 | VV4V305013 | Transpower make CT 200/1 | No. | 200 | 1 | 200 | … | … | … | … | … | … | … | …
184 | SS7S707001 | HPL Make 400A FP MCCB | No. | 210 | 1 | 210 | … | … | … | … | … | … | … | …
185 | II0I001005 | 120 KN Disc Insulator, 430 C.D, Anti-fog type 255 x 145 mm | Nos | 5 | 78 | 390 | … | … | … | … | … | … | … | …
186 | AA3A301004 | Al. Tube & welding Sleeves | mtr | 12 | 93 | 1116 | … | … | … | … | … | … | … | …
187 | AA3A302004 | Welding sleeve with 4 nos. Pin | Nos. | 5 | 4 | 20 | … | … | … | … | … | … | … | …
188 |  | 245 kV Bus Post Insulators (without corona ring) with creepage distance of 6125 mm. | Nos | 25 | 2 | 50 | … | … | … | … | … | … | … | …
189 |  | 145 kV Bus Post Insulators (without corona ring) with creepage distance of 3625 mm. | Nos | 20 | 2 | 40 | … | … | … | … | … | … | … | …
190 |  | 245 kV Double tension string assembly of Disc insulator (120KN) with total creepage distance of 6125mm with all hardware accessories including arcing horn suitable for tension clamp set and Twin Moose ACSR with 250mm sub conductor spacing with turn Buckle . | Nos. | 10 | 1 | 10 | … | … | … | … | … | … | … | …
191 |  | 145 kV Single tension string assembly of Disc insulator (120KN) with total creepage distance of 3625mm with all hardware accessories including arcing horn suitable for tension clamp set and Single Moose ACSR bundle without turn Buckle. | Nos. | 8 | 1 | 8 | … | … | … | … | … | … | … | …
192 |  | 245kV Terminal connector(Flexible Type) suitable for connecting of circuit breaker and to 4" IPS AL Tube | Nos. | 4 | 3 | 12 | … | … | … | … | … | … | … | …
193 |  | 245kV Terminal connector(Through type) suitable for connecting of Tandem isolator to suit 4” IPS Al tube(EH Type) | Nos. | 3 | 1 | 3 | … | … | … | … | … | … | … | …
194 |  | 245kV Terminal connector suitable for connecting of Tandem isolator to suit Twin moose ACSR. | Nos. | 3 | 1 | 3 | … | … | … | … | … | … | … | …
195 | II4I404003 | 245kV Flexible Type Spacer to Suit QUAD Moose ACSR, bolted type with 250mm sub conductor spacing | Nos. | 1.5 | 14 | 21 | … | … | … | … | … | … | … | …
196 | NN4N408016 | Double Pole Iron Clad Main Switch 63 Amp. Complete | Nos. | 4419.69 | 2 | 8839.38 | … | … | … | … | … | … | … | …
197 | FF2F206003 | 12mm. Chequer plate | MT | 74517.5 | 8.998 | 670508.465 | … | … | … | … | … | … | … | …
198 | FF2F202003 | MS Flat 50 X 6 mm | MT | 63472.5 | 0.66 | 41891.85 | … | … | … | … | … | … | … | …
199 | FF4F403007 | Flexible copper bond for ACSR Zebra conductor | Nos. | 362.7 | 15 | 5440.5 | … | … | … | … | … | … | … | …
200 | CC2C201002 | Armoured optical fibre Cable D-Link NCB - FM500-AUHD-06-50 / 1.25µΩ OMZ | Mtr. | 105.79 | 680 | 71937.2 | … | … | … | … | … | … | … | …
201 | CC2C201004 | RS 485 Communicating Cable | Mtr. | 65.9384 | 350 | 23078.44 | … | … | … | … | … | … | … | …
202 | CC3C313014 | Cable gland O/S | Nos. | 166.24 | 64 | 10639.36 | … | … | … | … | … | … | … | …
203 | FF1F101041 | GI bolt & nut with spring & flat washer 10x50 mm, 10x75 mm,12x75 mm, 12x50 mm & 12x60 mm | Kg. | 105.79 | 298 | 31525.42 | … | … | … | … | … | … | … | …
204 | CC3C316003 | GI cable tray perforated 2.5 mtr. length 150 mm wide | Mtr. | 309.81 | 28 | 8674.68 | … | … | … | … | … | … | … | …
205 | CC3C316002 | GI cable tray perforated 2.5 mtr. length 225 mm wide | Mtr. | 385.37 | 15 | 5780.55 | … | … | … | … | … | … | … | …
206 |  | 33KV SF6 Circuit Breaker (ABB make) Aux. supply 220VDC complete with G.I. Structure | No. | 351900 | 1 | 351900 | … | … | … | … | … | … | … | …
207 | SS5S501017 | Isolator clamp suitable for Panther Conductor | Nos. | 800.175 | 4 | 3200.7 | … | … | … | … | … | … | … | …
208 | SS0S005002 | 33 KV Motorized Isolator HDBI without Earth switch for 3ɸ of 2000 Amp. | Nos. | 113389 | 1 | 113389 | … | … | … | … | … | … | … | …
209 | CC0C001020 | Armoured control cable 2C X 2.5sq.mm. | Km. | 64983.75 | 0.68 | 44188.95 | … | … | … | … | … | … | … | …
210 | CC0C001018 | Armoured control cable 4C X 2.5sq.mm. | Km. | 99742.5 | 0.091 | 9076.5675 | … | … | … | … | … | … | … | …
211 | CC0C001013 | Armoured control cable 6C X 2.5sq.mm. | Km. | 158681.25 | 0.992 | 157411.8 | … | … | … | … | … | … | … | …
212 | AA3A301004 | 4" IPS Al tube EH type | Mtr. | 2200 | 100 | 220000 | … | … | … | … | … | … | … | …
213 |  | Nylon rope | Mtr. | 40.61 | 110 | 4467.1 | … | … | … | … | … | … | … | …
214 | II5I502004 | D T F for ACSR Zebra | Nos. | 10234 | 3 | 30702 | … | … | … | … | … | … | … | …
215 | II3I301003 | MS compression Joint for ACSR Zebra | Nos. | 1590 | 7 | 11130 | … | … | … | … | … | … | … | …
216 | II3I301002 | MS compression Joint for ACSR Deer | Nos. | 1688.16 | 3 | 5064.48 | … | … | … | … | … | … | … | …
217 | MM0M019017 | 48VDC, 2250Ω, 48D-5 Relay with 8 pins consisting 2NO +2NC Contact | Nos. | 1362 | 4 | 5448 | … | … | … | … | … | … | … | …
218 | CC3C315016 | 2.5mm2 Pin type Copper lugs | Nos | 8.0723 | 34 | 274.4565 | … | … | … | … | … | … | … | …
219 | GG0G001006 | GREAS | Kg | 316.25 | 4 | 1265 | … | … | … | … | … | … | … | …
220 |  | 3Φ,4Pole, 415VAC, 50HZ ISOLATOR SWITCH DISCONNECTOR 100 AMP | NOS | 1374 | 1 | 1374 | … | … | … | … | … | … | … | …
221 |  | 3Φ,4Pole, 415VAC, 50HZ MCB 16 AMP OF 'C' SERIES | NOS | 1717.5 | 3 | 5152.5 | … | … | … | … | … | … | … | …
222 | SS7S705004 | 3Φ,3Pole, 415VAC, 50HZ MCB 16 AMP OF 'C' SERIES | NOS | 1717.5 | 4 | 6870 | … | … | … | … | … | … | … | …
223 | SS7S704002 | 1Φ,2Pole, 240VAC, 50HZ MCB 16 AMP OF 'C' SERIES | NOS | 1717.5 | 3 | 5152.5 | … | … | … | … | … | … | … | …
224 | II1I103003 | C-Type Wedge Connector Deer to Panther | No. | 2863.4 | 10 | 28634 | … | … | … | … | … | … | … | …
225 |  | 16sq. Mm. Pin type copper lug | No. | 16.34 | 23 | 375.82 | … | … | … | … | … | … | … | …
226 |  | 16sq. Mm. Ring type copper lug | No. | 17.34 | 28 | 485.52 | … | … | … | … | … | … | … | …
227 | JJ2J201001 | Closing coil For 245 KV SF6 CB, 220 VDC (CGL) | No | 1200 | 7 | 8400 | … | … | … | … | … | … | … | …
228 | JJ2J201003 | Tripping coil For 245 KV SF6 CB, 220 VDC (CGL) | No | 1200 | 7 | 8400 | … | … | … | … | … | … | … | …
229 | JJ2J201021 | Motor Contactor For 245 KV CB, 220 VDC (CGL) | No | 800 | 14 | 11200 | … | … | … | … | … | … | … | …
230 |  | Contactor (3NO+3NC) For 245 KV CB, 220 VDC (CGL) | No | 800 | 40 | 32000 | … | … | … | … | … | … | … | …
231 |  | Terminal Connector JST-B3 suitable for 1.5 – 4mm2, 750 VAC, 50 Hz. | No | 72.57 | 20 | 1451.4 | … | … | … | … | … | … | … | …
232 | AA0A002001 | ACSR Moose Conductor | MTR | 300 | 15 | 4500 | … | … | … | … | … | … | … | …
233 | JJ5J503007 | 33 KV VCB Tripping Coil/Closing Coil Model No. 3AY-15-10-3FY Suitable For 220-240 VDC, 240 Ω | Nos | 4413.2 | 2 | 8826.4 | … | … | … | … | … | … | … | …
234 | JJ5J503009 | 33 KV VCB Tripping Coil/Closing Coil Model No. 3AY-15-10-3FY Suitable For 220-240 VDC, 269 Ω | Nos | 4413.2 | 1 | 4413.2 | … | … | … | … | … | … | … | …
235 | DD1D109002 | CAT-6 Copper cable | R.Mtr | 29 | 300 | 8700 | … | … | … | … | … | … | … | …
236 |  | Electro contact cleaner. (As per specifications the fast-penetrating, evaporating, non residue cleaner alternative of CFCs for the parts. Can/ Bottle (Ideal for electrical/electronic and fine parts, and degreases delicate precision mechanisms, Penetrating action removes oil, grease, dirt, flux and other containments, Does not contain CFCs , HCFC, or 1,1,1 trichloroethane, safe on plastic, Invert spray valve sprays in upright inverted position, Propellant-CO2.) | Nos | 578.2 | 2 | 1156.4 | … | … | … | … | … | … | … | …
237 | SS4S402015 | 33 KV Isolator Blade 1100 mm | No | 5876.4 | 1 | 5876.4 | … | … | … | … | … | … | … | …
238 |  | 220 VDC, 10 Amp, 3 Change Over Relay With Mounting Base | Nos | 963.66 | 2 | 1927.32 | … | … | … | … | … | … | … | …
239 |  | HA Type Fuse Base And Top Cover Suitable For 32 Amp 500 VAC With HA Type 32 AMP Fuse 32 Amp Fuse | Nos | 1171.8 | 3 | 3515.4 | … | … | … | … | … | … | … | …
240 | SS7S701005 | 02 Amp, 2 pole, 250 VDC MCB | NOS | 2950 | 5 | 14750 | … | … | … | … | … | … | … | …
241 |  | 04 Amp, 2 pole, 250 VDC MCB | NOS | 2950 | 5 | 14750 | … | … | … | … | … | … | … | …
242 | SS7S701004 | 06 Amp, 2 pole, 250 VDC MCB | NOS | 2950 | 5 | 14750 | … | … | … | … | … | … | … | …
243 | SS7S701002 | 10 Amp, 2 pole, 250 VDC MCB | NOS | 2950 | 5 | 14750 | … | … | … | … | … | … | … | …
244 |  | 16 Amp, 2 pole, 250 VDC MCB | NOS | 3540 | 4 | 14160 | … | … | … | … | … | … | … | …
245 | SS7S701001 | 32 Amp, 2 pole, 250 VDC MCB | NOS | 3540 | 4 | 14160 | … | … | … | … | … | … | … | …
246 |  | PF Capacitor For 250 V Battery Charger of rating 36 MF 5%, 450 V AC , %) HZ | NOS | 1062 | 2 | 2124 | … | … | … | … | … | … | … | …
247 |  | PF Capacitor For 48 V Battery Charger of rating 10 MF 5%, 450 V AC , %) HZ | NOS | 1062 | 3 | 3186 | … | … | … | … | … | … | … | …
248 |  | limit switch for SF6 Breaker –X-10GM2-B, 10 AMP, 125 VDC, 3 AMP, 250 VDC | NOS | 732.78 | 5 | 3663.9 | … | … | … | … | … | … | … | …
249 |  | 50 ml DGA truth Glass Syrige | NOS | 2467.38 | 2 | 4934.76 | … | … | … | … | … | … | … | …
250 | VV2V204001 | Transformer Oil Drum | Nos | 18311.535 | 2 | 36623.07 | … | … | … | … | … | … | … | …
251 | VV2V203001 | silica gel | Kg | 381.14 | 32 | 12196.48 | … | … | … | … | … | … | … | …
252 | PP1P122007 | N2 Regulator Assembly | No | 19558.5 | 2 | 39117 | … | … | … | … | … | … | … | …
253 |  | N2 Gas Cylinder Empty | No | 20000 | 1 | 20000 | … | … | … | … | … | … | … | …
254 |  | Bay control unit F-650 GE Make | No | 173528.44 | 1 | 173528.44 | … | … | … | … | … | … | … | …
255 | MM0M003003 | Back UP For Protection Relay With O/C and E/F Element Type- F650 | No | 57843.6 | 2 | 115687.2 | … | … | … | … | … | … | … | …
256 | SS6S610019 | HRC Fuse NS type 16 Amp | Nos | 88.5 | 3 | 265.5 | … | … | … | … | … | … | … | …
258 |  | Pump motor contactor 12A, 415V, coil-240V, AC | Nos | 1953 | 1 | 1953 | … | … | … | … | … | … | … | …
259 |  | Terminal Connector CDTTE (1.6 - 6mm2), 600V, 41A | Nos | 116.82 | 13 | 1518.66 | … | … | … | … | … | … | … | …
260 | TT2T201038 | Tag File of Standard Size | Nos | 15.989 | 20 | 319.78 | … | … | … | … | … | … | … | …
261 | VV5V404005 | 36KV CT Main Internal Bushing Rod made of copper suitable for 1600 Amp. C.T. of 32mm. outer dia. of 300mm. length | Nos | 5885 | 1 | 5885
262 | VV5V404006 | primary terminal for 36KV CT 1600/1 Amp. Inside thread and outside locking slot for tightening (length 80mm. O.D. 40mm.) | Nos | 1463.25 | 4 | 5853
265 |  | 25 mm2 ring type AL Lugs | Nos | 80.24 | 10 | 802.4
266 |  | 35 mm2 ring type AL Lugs | Nos | 82.6 | 15 | 1239
267 |  | 50 mm2 ring type AL Lugs | Nos | 88.5 | 5 | 442.5
268 |  | 16mm2 coppetr cable | Mtr | 489.7 | 9 | 4407.3
269 |  | 33 KV CT(1PH), AC 0.2, 5 Core 1600/800/1A | No | 79490.7 | 1 | 79490.7
270 |  | 36 KV, 3 Core CT 1600/800/1 A with 0.2 Accuracy | No | 79060 | 1 | 79060
271 |  | 33 KV CT 1600/800/1 (Old, Used & Damaged) | No | 5000 | 1 | 5000
272 | SS4S402013 | 33 KV, 800 Amp Copper Isolator Blade | No | 3000 | 6 | 18000 | … | …
273 |  | Toner Cartridge for Ricoh Photocopier Machine Model MP2001L | Nos | 4120.56 | 1 | 4120.56
274 | AA1A101001 | GS Earth wire 7/9 SWG (Old and dismantaled) | KM | 24800 | … | … | … | … | 0.31 | 7688 | … | … | … | …
275 |  | 3ɸ Transformer Cooling Fan ( Old & Used & Repairable) | Nos. | 5000 | … | … | … | … | 3 | 15000 | … | … | … | …
276 |  | Annunciation card ( SPCL-440V2) ( Old & Used & Repairable) | No. | 250 | … | … | … | … | 1 | 250 | … | … | … | …
277 | VV6V602003 | 132KV CVT (Sepaged) | No. | 100000 | … | … | … | … | 1 | 100000 | … | … | … | …
278 | MM0M007004 | OSR (old & Used & Repairable) | No. | 5500 | … | … | … | … | 1 | 5500 | … | … | … | …
279 | II2I210003 | Suspension Clamp for Deer Conductor (Dismantled & Old & Used) | Nos. | 50 | … | … | … | … | 9 | 450 | … | … | … | …
280 | FF0F015001 | Black Tower Parts (Old & Used) | MT | 20000 | … | … | … | … | 23.7 | 474000 | … | … | … | …
281 |  | ACSR Deer Conductor (Old & Used) | Mtr. | 50 | … | … | … | … | 2340.2 | 117010 | … | … | … | …
282 | AA1A101001 | Earthwire (Old & Used) | Mtr. | 50 | … | … | … | … | 813.4 | 40670 | … | … | … | …
283 | AA1A101001 | Earthwire (old & used) | Km. | 80916.67 | … | … | … | … | 0.378 | 30586.5013 | … | … | … | …
284 | VV3V305009 | 33KV Current transformer 400/200/1 Amp. (OLD & USED) | No. | 12510.66 | … | … | … | … | 3 | 37531.98 | … | … | … | …
285 | VV6V602002 | 245KV, 4400pf, CVT Complete in all respect including terminal connectors and support stool for erecting on standard support structure (Not working due to seepage) | No. | 90854.8 | … | … | … | … | 1 | 90854.8 | … | … | … | …
286 |  | D 400 Upgrade Kit (old used& repairable) | No. | 50000 | … | … | … | … | 2 | 100000 | … | … | … | …
287 |  | 220/132/33 KV Feeder Energy meeter (old & used) | No | 2000 | … | … | … | … | 25 | 50000 | … | … | … | …
288 | VV2V204007 | Empty Drum of Transformer Oil each 209 Ltrs. Capacity | Nos | 200 | … | … | … | … | 50 | 10000 | … | … | … | …
289 | VV2V204001 | Transformer oil (old & used) | Ltr | 25 | … | … | … | … | 2766 | 69150 | … | … | … | …
290 | VV0V002001 | Transformer PT- 6934 (Faulty condition ) With conservator tank, fan, fan Pump, Radiator, Turret CT, PRV | Nos | 20000000 | … | … | … | … | 1 | 20000000 | … | … | … | …
291 | VV1V101010 | 160 MVA T/F HV Bushing (old & used) With Copper Bushing Rod | Nos | 250000 | … | … | … | … | 1 | 250000 | … | … | … | …
292 | VV1V101010 | 160 MVA T/F HV Bushing (old & used & repairable / Damage) With Copper Bushing Rod | No | 200000 | … | … | … | … | 2 | 400000 | … | … | … | …
293 | VV1V101011 | 160 MVA T/F LV Bushing (old & used) With Copper Bushing Rod | Nos | 150000 | … | … | … | … | 3 | 450000 | … | … | … | …
294 | VV1V101012 | Neutral Bushing with Metal part | No | 100000 | … | … | … | … | 1 | 100000 | … | … | … | …
295 |  | Tertiary bushing With Metal Part | No | 100000 | … | … | … | … | 3 | 300000 | … | … | … | …
296 |  | DGA Analyzer system (old & used) | No | 400000 | … | … | … | … | 1 | 400000 | … | … | … | …
297 |  | Fabrication Scrap | Kg. | 15 | … | … | … | … | … | … | … | … | 179.62 | 2694.3
298 |  | 3 phase Window AC compressor (old, used & damaged) | Nos | 500 | … | … | … | … | … | … | … | … | 3 | 1500
299 |  | Burn copper scrap | kg | 350 | … | … | … | … | … | … | … | … | 8 | 2800
300 |  | 132 KV damage & burn CT ring | No | 400 | … | … | … | … | … | … | … | … | 4 | 1600
301 | AA0A002001 | ACSR MOOSE Conductor Scrap | Kg. | 15 | … | … | … | … | … | … | … | … | 30 | 450
302 |  | Spare battery cells | No. | 2400.132 | … | … | … | … | … | … | … | … | 5 | 12000.66
303 |  | Spare battery cells | No. | 2100.132 | … | … | … | … | … | … | … | … | 5 | 10500.66
304 |  | 33 KV CT 1600/800/1 (Old, Used & Damaged) | No. | 5000 | … | … | … | … | … | … | … | … | 1 | 5000
305 | VV2V204007 | Empty Drum of Transformer Oil each 209 Ltrs. Capacity | Nos | 200 | … | … | … | … | … | … | … | … | 139 | 27800
306 | VV3V301002 | 36KV CT 1600/800/1Amp. (Old & used) | Nos. | 20000 | … | … | … | … | … | … | … | … | 1 | 20000

## line
Stock Inventory (January -2022 )
Name of Circle/ Zone : O&M Garhwal Zone
Name of Division : O & M Division Jhajhra, Dehradun Name of Sub station - 220 kv s/s Jhajhra, Dehradun
Stock Inventory for the month of : January -2022 Name of Section Holder- Pradeep Kumar Bhatt ,J.E.(Line)
Name of Substation |  |  | 220 KV Substation Jhajhra
Sl. No. | Item Code | Name of Item | Unit | Rate | Qty | Dismantle | Incompleted | Damage | Obsolete | Scrap
1 | FF0F032007 | Galvanized B type D/C Tower Stub | MT(HT) | 75072 | 0.712
2 | NA | Galvanized Template of B type Tower | MT | 70074 | 1.326
3 | NA | Galvanized Template of C type Tower | MT | 70074 | 1.342
4 | NA | Pilot H/W fitting for ACSR Zebra conductor suitable for 90 KN disc insulator | Sets | 2601.25 | 19
5 | II3I303003 | Vibration damper for ACSR Zebra conductor | Nos | 1156.33 | 36
6 | II3I301003 | Mid span compression joint for ACSR Zebra conductor | Nos | 1517 | 24
7 | II3I302003 | Repair sleeve for Zebra conductor | Nos | 564.59 | 59
8 | II3I302003 | Repair sleeve for Zebra conductor (Old ) | Nos | 542.43 | 8
9 | II4I404008 | Rigid Spacer for Twin ACSR Zebra conductor | Nos | 1248.6 | 128
10 | II0I001001 | Disc Insulator 160KN | Nos | 670.68 | 12
11 | II0I001006 | Disc Insulator 90KN | Nos | 945.9 | 185
12 | II0I001006 | Disc Insulator 90 KN ( Old & Used) | Nos. | 500 | 31 |  |  | 11
13 | AA0A002003 | ACSR Zebra Conductor (cut in different pieces ) | Km. | 265500 | 0.947
14 |  | 220 KV suspension fitting for Deer Conductor | Nos. | 50 | 6
15 | II3I301002 | Mid span joint for Deer conductor | Nos | 400 | 102
16 | II3I302002 | Repair sleeve for ACSR Deer conductor | Nos | 946.92 | 15
17 | II5I501004 | Single tension fitting for Zebra conductor | Nos | 500 | 6
18 | II5I502004 | Double tension fitting for Zebra conductor | Nos | 500 | 9
19 | NA | Single tension fitting for Zebra conductor without Dead End | Nos | 500 | 3
20 | NA | Hot dip galvanized templates, including Bolts, Nuts and washers for above structure as per BOM | MT | 112455 | 1.591
21 | II3I301008 | Mid span compression joint for Earth wire 7/9 SWG | Nos. | 670.64 | 22
22 | II5I507004 | Bolted type tension fitting damage scrap | Nos. | 1000 | [5 empty] | 3
23 | NA | Disc Insulators (Dismentled & Old & Used) | Nos. | 200 | 22 |  |  | 8
24 | NA | Disc Insulator (Dismantled & Old & Used) | Nos. | 200 | 451 |  |  | 33
25 | NA | Pilot Fitting (90 KN) | Nos. | 3088.8 | 2
26 | AA1A101002 | Earth Wire | Km. | 80916.67 | 0.032
27 |  | Dismentling tower structure (Old & Used) | MT | 20000 |  | 5.02
28 | II5I504003 | Single Suspension Fitting for ACSR Deer (Old & Used) | Nos. | 65 | 4
29 | II5I501004 | Single tension fitting suitable for ACSR Zebra conductor | Nos. | 4118.4 | 20
30 | II3I303008 | Vibration damper for earth wire 7/9 SWG | Nos. | 949.08 | 9
31 | II3I303002 | Vibration damper for Deer Conductor (Dismantled & Old & Used) | Nos. | 250 | 32
32 | II3I303002 | Vibration Damper for Deer Conductor | No. | 1958.8 | 3
33 | II3I304002 | Hanger Suitable for Deer Conductor (Dismantled & Old & Used) | Nos. | 65 | 18
34 | II5I505003 | Double Suspension fitting for Deer Conductor (Dismantled & Old & Used) | Nos. | 350 | 15
35 | II3I305002 | Armor Rod for Deer Conductor (Dismantled & Old & Used) | Nos. | 50 | 9
36 | NA | Dead End for Deer Conductor (Dismantled & Old & Used) | Nos. | 50 | [5 empty] | 5
37 | II0I001007 | Disc Insulator - 70KN (B&S) | Nos. | 499.8 | 6
38 | NA | Eath wire fitting (Dismantelled & old & Used) | Nos. | 20 | 1
39 | NA | Tension fittings for E/W | Nos. | 965.42 | 2
40 | II0I004003 | PG Clamp for ACSR Deer Conductor | Nos. | 1072.98 | 9
41 | II0I005001 | PG Clamp for ACSR Zebra Conductor | Nos. | 1056.14 | 11
42 | II2I203002 | Suspension clamp for 7/10 SWG Earth Wire | Nos. | 1177.64 | 5
43 | II2I203001 | Suspension clamp for 7/9 SWG Earth Wire | Nos. | 1177.64 | 5
44 | II2I202002 | Tension clamp for 7/10 SWG Earth Wire | Nos. | 1176 | 15
45 | II2I202001 | Tension clamp for 7/9 SWG Earth Wire | Nos. | 1175.23 | 8
46 | II0I006001 | PG Clamps for ACSR Panther to ACSR Panther Conductor | No. | 974.09 | 12
47 | II3I301004 | Mid Span Compression Joint for ACSR Panther Conductor | Nos. | 1469.1 | 2
48 | II3I301009 | Mid Span Compression Joint for 7/10 SWG Earth Wire | Nos. | 733.96 | 8
49 | II3I302008 | Repair Sleeve for 7/9 SWG Earth Wire | No. | 735.13 | 6
50 | II3I302009 | Repair Sleeve for 7/10 SWG Earth Wire | No. | 735.13 | 8
51 | II3I302004 | Repair Sleeve for ACSR Panther Conductor | No. | 1174.08 | 10
52 | NA | Flexible Copper Bond for 7/10 SWG Earth Wire | No. | 1174 | 5
53 | II3I305004 | Armour Rod for ACSR Panther Conductor | No. | 1455 | 4
54 | II3I305003 | Armour Rod for ACSR Zebra Conductor | No. | 1457.25 | 4
55 | PP0P001012 | Come along clamp for 7/9 SWG Earth Wire | No. | 5876 | 1
56 | PP0P001013 | Come along clamp for 7/10 SWG Earth Wire | No. | 5853 | 1
57 | II5I501005 | Single tension fitting for Panther conductor | No. | 5888 | 1
58 | PP0P008011 | Bull Dog Grip for Earth wire | No. | 230.12 | 21
59 | II5I505005 | Double Suspension Fitting for Panther | No. | 5887 | 1
60 | NA | G.I. D-Shackle Length 115 mm | No. | 731.6 | 6
61 | NA | Flexible Copper Bond for G.S. Earth wire 7/9 SWG | No. | 1944.66 | 2
62 | II3I303004 | Vibration Damper for Panther Conductor | No. | 969.5 | 6
63 | FF1F101019 | 16mm Daimeter Galvanized HRH Nut & Bolt 60 mm Long | Kg | 232.44 | 11
64 | FF1F101016 | 16mm Daimeter Galvanized HRH Nut & Bolt 65 mm Long | Kg | 291.45 | 11
65 | FF1F101023 | 16mm Diameter Galvanized HRH Nut & Bolt 50 mm Long | Kg | 117.88 | 24